## Summary
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@services@ecovistamep.com Mob. No. - 9322334106
| Company Name |  | Dated | 2025-05-28
ICICI Bank
Site Address: - Shop No. 5,6 & 7, Saraswati Heights, Junction of Sevaram Lalwani & Vithalbhai Patel Road, Mulund West, Mumbai-400080
SR. NO | ITEM | BOQ AMOUNT (Rs) | BOQ GST (Rs) | BOQ AMOUNT WITH GST (Rs)
HIGH SIDE
| TOTAL HIGH SIDE | 808165 | 226286.2 | 1034451.2
LOW SIDE
| TOTAL LOW SIDE | 349035 | 62826.3 | 411861.3
| TOTAL HIGH SIDE + LOW SIDE | 1157200 | 289112.5 | 1446312.5

## HS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@services@ecovistamep.com Mob. No. - 9322334106
| Company Name | Dated |  | 2025-05-28
ICICI Bank
Site Address: - Shop No. 5,6 & 7, Saraswati Heights, Junction of Sevaram Lalwani & Vithalbhai Patel Road, Mulund West, Mumbai-400080
BILL OF QUANTITIES
HIGH SIDE WORK
Sr. No. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin VRV Airconditioners
A | Daikin Outdoor Units
1 | Supply of Daikin Make 16 HP VRV Outdoor Unit Top Discharge - RXQ16ARY6 | Nos. | 1 | 309010 | 309010
B | Daikin Indoor Units
1 | Supply of Daikin Make VRV Cassette AC Indoor Unit 2.08 TR - FXFSQ63ARV16 | Nos. | 2 | 50895 | 101790
2 | Supply of Daikin Make VRV Compact Cassette AC Indoor Unit 1.6 TR - FXZQ50BVM6 | Nos. | 3 | 55640 | 166920
3 | Supply of Daikin Make VRV Compact Cassette AC Indoor Unit 1.33 TR - FXZQ40BVM6 | Nos. | 1 | 54535 | 54535
4 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 2.08 TR - FXAQ63ARVE6 | Nos. | 1 | 30745 | 30745
5 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 1.08 TR - FXAQ32ARVE6 | Nos. | 1 | 27365 | 27365
6 | Supply of Daikin Make NVRV Hi Wall AC Unit 2.0 TR - G/FTKM60UV16/FTKU60UV16 | Nos. | 1 | 47000 | 47000
7 | Supply of Daikin Make NVRV Hi Wall AC Unit 1.0 TR - G/FTKM35UV16/FTKU35UV16 | Nos. | 1 | 29500 | 29500
C | IDU Refnut Joints | Nos. | 7 | 5900 | 41300
Sub Total |  |  |  |  | 808165
GST 28% |  |  |  |  | 226286.2
Total (High Side) |  |  |  |  | 1034451.2

## LS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@services@ecovistamep.com Mob. No. - 9322334106
| Company Name | Dated |  | 2025-05-28
ICICI Bank
Site Address: - Shop No. 5,6 & 7, Saraswati Heights, Junction of Sevaram Lalwani & Vithalbhai Patel Road, Mulund West, Mumbai-400080
BILL OF QUANTITIES
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of 16 HP VRV Outdoor Unit. | Nos | 1 | 16000 | 16000
B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
1 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 2.08 TR | Nos | 2 | 3000 | 6000
2 | Labour charges towards Installation of VRV Compact Cassette AC Indoor Unit 1.6 TR | Nos | 3 | 2800 | 8400
3 | Labour charges towards Installation of VRV Compact Cassette AC Indoor Unit 1.33 TR | Nos | 1 | 2800 | 2800
4 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 2.08 TR | Nos | 1 | 1500 | 1500
5 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 1.08 TR | Nos | 1 | 1500 | 1500
6 | Labour charges towards Installation of NVRV Hi Wall AC Unit 2.0 TR | Nos | 1 | 1500 | 1500
7 | Labour charges towards Installation of NVRV Hi Wall AC Unit 1.0 TR | Nos | 1 | 1500 | 1500
8 | Labour charges towards Nitrogen Pressure Testing, vaccuming, gas charging and Commissioning of 16 HP VRV ODU & IDUs | Nos | 1 | 5500 | 5500
C | Installtion IDU Refnets (Y-Distribution) Joints for Units | Nos | 7 | 500 | 3500
D | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 75 | 1650 | 123750
2 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for NVRV Units | Rmt | 28 | 1050 | 29400
E | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.0 Sqmm with conduits for VRV Units | Rmt | 95 | 155 | 14725
2 | Supply & Labour towards Communication Cable betweem IDU to ODU 4 Core 1.5 Sqmm with conduits for NVRV Units | Rmt | 35 | 180 | 6300
F | Drain Pipe :
1 | Supply & Labour charges towards PVC Drain Piping 40mm | Rmt | 40 | 190 | 7600
2 | Supply & Labour charges towards PVC Drain Piping 32mm | Rmt | 18 | 170 | 3060
G | Lifting Shifting VRV ODU & IDU on all floors | Lot | 1 | 25000 | 25000
H | Transportation of spares and materials | Lot | 1 | 5000 | 5000
I | Additional Refrigerant Charging as per copper length. | Kg's | 16 | 1050 | 16800
J | Indoor Drain Pump for Hi Wall units | Nos | 2 | 5500 | 11000 | If Required
K | Timer with Relay | Nos | 2 | 4500 | 9000
L | Outdoor Unit Stand for NVRV 2.0 TR unit | Nos | 1 | 1800 | 1800
M | Outdoor Unit Stand for NVRV 1.0 TR unit | Nos | 1 | 1100 | 1100
N | Fabrication of Outdoor Unit Stand for VRV units | Nos | 1 | 15500 | 15500
O | Cowl piece for VRV Outdoor units | Nos | 1 | 9800 | 9800
P | Supply and Installation of 300 mm X 150 mm Cable Tray with Cover | Rmt | 12 | 1750 | 21000 | If Required
Total Basic Low side for machine installation |  |  |  |  | 349035
GST 18% |  |  |  |  | 62826.3
Total (Low Side) |  |  |  |  | 411861.3

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@services@ecovistamep.com Mob. No. - 9322334106
| Company Name | Dated | 2025-05-28
ICICI Bank
Site Address: - Shop No. 5,6 & 7, Saraswati Heights, Junction of Sevaram Lalwani & Vithalbhai Patel Road, Mulund West, Mumbai-400080
BILL OF QUANTITIES
LOW SIDE WORK
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.