## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Home Interior Designs E-commerce Pvt Ltd |  |  | Date :- | 19.04.2024
Site Address: - Livspace - Shop no. 9, Ground Floor, Hinjewadi - Wakad Road, opp. Gateway hotel, Pune, Maharashtra 411057
Sr. No. | DETAILS OF MACHINES |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | 3.8 TR Cassette Unit |  | Nos. | 2 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 3.8 TR |  | Nos. | 2 | 3500 | 7000
2 | Refrigeration Piping for Cassette Unit - 3.8 TR |  | Mtrs. | 87 | 950 | 82650
3 | 7 Core Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 92 | 210 | 19320
4 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 30 | 140 | 4200
5 | Cable Tray |  | Mtrs. | 24 | 650 | 15600
6 | Supply & Installation of Outdoor Unit Fabrication Stand |  | Nos. | 2 | 8750 | 17500
7 | Core Cutting |  | Nos. | 2 | 2000 | 4000
D | TOTAL BASIC LOW SIDE |  |  |  |  | 150270
E | GST@ 18% |  |  |  |  | 27048.6
F | Total Low Side Value |  |  |  |  | 177318.6
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 177318.6
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals