## Summary
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name |  | Dated | 21.07.2025
ICICI BANK LTD
Site Address: - Unit no 1, Ground floor, Vasant Centria, Vasant Oasis, Borosil Plot, Makwana road, Marol Andheri east, Mumbai – 400059.
SR. NO | ITEM | BOQ AMOUNT (Rs) | BOQ GST (Rs) | BOQ AMOUNT WITH GST (Rs)
HIGH SIDE
| TOTAL HIGH SIDE | 812410 | 227474.8 | 1039884.8
LOW SIDE
| TOTAL LOW SIDE | 414000 | 74520 | 488520
| TOTAL HIGH SIDE + LOW SIDE | 1226410 | 301994.8 | 1528404.8

## HS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 21.07.2025
ICICI BANK LTD
Site Address: - Unit no 1, Ground floor, Vasant Centria, Vasant Oasis, Borosil Plot, Makwana road, Marol Andheri east, Mumbai – 400059.
BILL OF QUANTITIES
HIGH SIDE WORK
Sr. No. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin VRV Airconditioners
A | Daikin Outdoor Units
1 | Supply of Daikin Make 8 HP VRV Outdoor Unit Side Discharge - RXMQ8ARV16 | Nos. | 2 | 162400 | 324800
B | Daikin Indoor Units
1 | Supply of Daikin Make VRV Cassette AC Indoor Unit 1.6 TR - FXAQ25ARVE6 | Nos. | 5 | 48720 | 243600
2 | Supply of Daikin Make VRV Cassette AC Indoor Unit 1.08 TR - FXFSQ32ARV16 | Nos. | 1 | 49490 | 49490
3 | Supply of Daikin Make VRV Cassette AC Indoor Unit 0.8 TR - FXFSQ25ARV16 | Nos. | 1 | 48720 | 48720
4 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 1.08 TR - FXAQ32ARVE6 | Nos. | 1 | 27860 | 27860
5 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 0.8 TR - FXAQ25ARVE6 | Nos. | 1 | 27440 | 27440
6 | Supply of Daikin Make Hi Wall AC Unit 1.5 TR (Non VRV) | Nos. | 1 | 34000 | 34000
7 | Supply of Daikin Make Hi Wall AC Unit 1.0 TR (Non VRV) | Nos. | 1 | 28500 | 28500
C | IDU Refnut Joints | Nos. | 8 | 3500 | 28000
Sub Total |  |  |  |  | 812410
GST 28% |  |  |  |  | 227474.8
Total (High Side) |  |  |  |  | 1039884.8

## LS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 21.07.2025
ICICI BANK LTD
Site Address: - Unit no 1, Ground floor, Vasant Centria, Vasant Oasis, Borosil Plot, Makwana road, Marol Andheri east, Mumbai – 400059.
BILL OF QUANTITIES
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of 8 HP VRV Outdoor Unit. | Nos | 2 | 5000 | 10000
B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
1 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 1.6 TR | Nos | 5 | 2000 | 10000
2 | Labour charges towards Installation of VRV Cassettel AC Indoor Unit 1.08 TR | Nos | 1 | 2000 | 2000
3 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 0.8 TR | Nos | 1 | 1500 | 1500
4 | Labour charges towards Installation of VRV Hi wall AC Indoor Unit 1.08 TR | Nos | 1 | 1500 | 1500
5 | Labour charges towards Installation of VRV Hi wall AC Indoor Unit 0.8 TR | Nos | 1 | 1500 | 1500
6 | Labour charges towards Installation of Hi Wall AC Unit 1.5 TR (Non VRV) | Nos | 1 | 1650 | 1650
7 | Labour charges towards Installation of Hi Wall AC Unit 1.0 TR (Non VRV) | Nos | 1 | 1650 | 1650
8 | Labour charges towards Nitrogen Pressure Testing, vaccuming, gas charging and Commissioning of 8 HP VRV ODU & IDUs | Nos | 2 | 3000 | 6000
C | Installtion IDU Refnets (Y-Distribution) Joints for Units | Nos | 8 | 400 | 3200
D | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 80 | 1350 | 108000
2 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for Non VRV Units | Rmt | 45 | 1050 | 47250
E | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.0 Sqmm with conduits for VRV Units | Rmt | 90 | 150 | 13500
2 | Supply & Labour towards Communication Cable betweem IDU to ODU 4 Core 1.5 Sqmm for Non VRV Units | Rmt | 55 | 170 | 9350
3 | Supply & Labour towards Power Cable betweem IDU to ODU 3 Core 1.5 Sqmm | Rmt | 45 | 155 | 6975
F | Drain Pipe :
1 | Supply & Labour charges towards PVC Drain Piping 40mm | Rmt | 40 | 170 | 6800
2 | Supply & Labour charges towards PVC Drain Piping 32mm | Rmt | 25 | 140 | 3500
G | Indoor Drain Pump for Hi Wall | Nos | 2 | 6500 | 13000
H | Timer with Relay | Nos | 2 | 5500 | 11000
I | Supply & Installation charges towards Installation of Fresh Air Fan 350 CFM | Nos | 1 | 18000 | 18000
J | Supply & Installation of Rectangular Ducting for Fresh Air with clamp supports etc. | Sqft | 280 | 125 | 35000
L | Supply & Installation of Rectangular Ducting for Toilet Exhast with clamp supports etc. | Sqft | 22 | 125 | 2750
M | Supply & Installation of Flexible Ducting Dia 100mm | Rmt | 20 | 270 | 5400
N | Supply and Installation of fire rated Canvass Connection for Fresh Air Fan | Sqft | 4 | 1600 | 6400
O | Supply and Installation and testing of Mild steel air Louvered with Bird Screen | Nos | 1 | 1100 | 1100
P | Supply & Installation of Linear Grill | Sq. Ft | 6 | 725 | 4350
Q | Disc Valve (Ø 100mm) 4 Inch | Nos | 1 | 1250 | 1250
R | Lifting Shifting VRV ODU & IDU on all floors | Lot | 1 | 10000 | 10000
S | Transportation of spares and materials | Lot | 1 | 2500 | 2500
T | Additional Refrigerant Charging as per copper length. | Kg's | 10 | 1050 | 10500
U | Fabricated Cage Outdoor stand for 8HP VRV | Kg's | 145 | 195 | 28275
V | Supply of Aluminium Foldable Ladder of Outdoor 8 HP VRV Unit | Lot | 1 | 18000 | 18000
W | L type stand of Outdoor NON VRV unit | Nos | 2 | 1050 | 2100
X | Scaffolding | Lot | 1 | 10000 | 10000
Total Basic Low side for machine installation |  |  |  |  | 414000
GST 18% |  |  |  |  | 74520
Total (Low Side) |  |  |  |  | 488520
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals
9 | All Electrical power cables and power points will under the customer scope.
10 | We have not consider Linear Grill and Collar Damper in Quotation

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated | 21.07.2025
ICICI BANK LTD
Site Address: - Unit no 1, Ground floor, Vasant Centria, Vasant Oasis, Borosil Plot, Makwana road, Marol Andheri east, Mumbai – 400059.
BILL OF QUANTITIES
LOW SIDE WORK
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.