## Low side , Electrical work BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | HT Media |  |  | Date :- | 23.04.2025
Site Address: - Navi Mumbai
Sr. No. | DETAILS OF MACHINES |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | 2TR 3 Star Inverter Cassette AC |  | Nos. | 3 | 64350 | 193050
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 193050
B | GST @ 28% |  |  |  |  | 54054
C | Total High Side Value |  |  |  |  | 247104
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
A | Low Side Work
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of 2.0TR Cassette AC Unit |  | Nos. | 3 | 3000 | 9000
2 | Mountaining arrangement for indoor units comprising of anchor fastner, nuts & bolts , clits, supporting rods, vibration isolators Etc. |  | Nos. | 3 | 300 | 900
3 | Refrigeration Piping for Cassette Unit |  | RMt | 110 | 1000 | 110000
4 | Supply & Labour towards Communication Cable between IDU & ODU 4Core x 2.5SQMM conduits |  | RMt | 120 | 150 | 18000
5 | Drain Pipe 25mm thick hard PVC |  | RMt | 40 | 140 | 5600
6 | L Type Jumbo Stand |  | Nos. | 3 | 1100 | 3300
7 | Civil work for cutting chiselling of wall to conceal copper pipe, drain pipe , electrical wire without plaster |  | RMt | 52 | 50 | 2600
B | Electrical Work
1 | Supply towards Power Cable 3 Core 4 Sq mm conduits |  | RMt | 90 | 250 | 22500
2 | MCB double pole LeGrand |  | Nos. | 3 | 950 | 2850
3 | PVC Pipe 30 mm |  | RMt | 15 | 150 | 2250
4 | Labour Charges |  | Lot | 1 | 7000 | 7000
D | TOTAL BASIC LOW SIDE |  |  |  |  | 184000
E | GST@ 18% |  |  |  |  | 33120
F | Total Low Side Value |  |  |  |  | 217120
G | TOTAL VALUE HIGH SIDE + LOW SIDE (A + D) |  |  |  |  | 377050
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals

## Fresh air fan
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | HT Media |  |  | Date :- | 23.04.2025
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
A | Supply of Inline Exhaust & Fresh Air Fan
1 | Supply of Fresh Air Fan 300 CFM/30mm Static. |  | Nos. | 1 | 14950 | 14950
| TOTAL BASIC LOW SIDE |  |  |  |  | 14950
| GST@ 18% |  |  |  |  | 2691
| Total Low Side Value |  |  |  |  | 17641
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
B | Ventilation System
1 | Labour charges towards Installation of Fresh Air Fan |  | Nos. | 1 | 2500 | 2500
2 | Supply & Installation of G.I. Ducting Of 24 G with support for Fresh Air Fan |  | Sqmt | 40 | 1750 | 70000
3 | Canvas Connection. |  | Nos. | 1 | 1500 | 1500
4 | Transportation Charges |  | Lot | 1 | 750 | 750
5 | Civil work |  | Lot | 1 | 1000 | 1000
C | TOTAL BASIC LOW SIDE |  |  |  |  | 75750
D | GST@ 18% |  |  |  |  | 13635
E | Total Low Side Value |  |  |  |  | 89385
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals