## Sheet1
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | ICICI BANK |  |  | Date :- | 13.01.2025
Site Address: - ICICI, Raymond Ten X pokhran road no 1 Thane west.
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | ATM | 1.0 TR Hi Wall Unit | Nos. | 2 |  | 0
2 | Server Room | 1.0 TR Hi Wall Unit | Nos. | 2 |  | 0
3 | BM Cabin | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
4 | Teller Room | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
5 | Branch Area | 2.0 TR Cassette Unit | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit 1.0TR |  | Nos. | 6 | 14700 | 88200
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette 2.0TR |  | Nos. | 1 | 20710 | 20710
3 | Refrigeration Piping for Cassette Unit 2.0TR |  | Mtrs. | 12 | 1200 | 14400
4 | Interconnecting 4 Core Cable wire Indoor & Outdoor Unit |  | Mtrs. | 76 | 250 | 19000
5 | Refrigeration Piping for Hi Wall Unit - 1.0 TR |  | Mtrs. | 41 | 1050 | 43050
8 | Double Decker stand |  | Kgs. | 131 | 195 | 25545
9 | Table type stand |  | Kgs. | 18 | 195 | 3510
10 | Timer |  | Nos. | 2 | 5500 | 11000
11 | Cable tray 300mm |  | Mtrs. | 10 | 700 | 7000
12 | Wall Chiseling without filling |  | Mtrs. | 18 | 110 | 1980
13 | Lifting/Shifting Charges |  | Lms. | 1 | 1500 | 1500
D | TOTAL BASIC LOW SIDE |  |  |  |  | 235895
E | GST@ 18% |  |  |  |  | 42461.1
F | Total Low Side Value |  |  |  |  | 278356.1
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 278356.1
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals