## Summary
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name |  | Dated | 2026-05-22
Lalpath lab - Kharghar
Site Address: - Shop No 4, Anant CHS, opposite Vijay Sales, Sector 4, Kharghar, Navi Mumbai, Panvel, Maharashtra 410210
SR. NO | ITEM | BOQ AMOUNT (Rs) | BOQ GST (Rs) | BOQ AMOUNT WITH GST (Rs)
HIGH SIDE
| TOTAL HIGH SIDE | 641775 | 179697 | 821472
LOW SIDE
| TOTAL LOW SIDE | 376560 | 67780.8 | 444340.8
| TOTAL HIGH SIDE + LOW SIDE | 1018335 | 247477.8 | 1265812.8

## HS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 27.05.2026
Lalpath lab - Kharghar
Site Address: - Shop No 4, Anant CHS, opposite Vijay Sales, Sector 4, Kharghar, Navi Mumbai, Panvel, Maharashtra 410210
BILL OF QUANTITIES
HIGH SIDE WORK
Sr. No. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin VRV Airconditioners
A | Daikin Outdoor Units
1 | Supply of Daikin Make 06 HP VRV Outdoor Unit Side Discharge - RXMQ6ARV16 | Nos. | 2 | 132340 | 264680
B | Daikin Indoor Units
1 | Supply of Daikin Make VRV 4 Way Cassette AC Indoor Unit 1.6 TR - FXFSQ50ARV16 | Nos. | 2 | 50375 | 100750
2 | Supply of Daikin Make VRV 1 Way Cassette AC Indoor Unit 1.08 TR - FXKQ32ARV16 | Nos. | 1 | 59085 | 59085
3 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 0.6 TR - FXAQ20ARVE6 | Nos. | 2 | 29315 | 58630
4 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 1.08 TR - FXAQ32ARVE6 | Nos. | 3 | 30225 | 90675
4 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 1.6 TR - FXAQ50ARVE6 | Nos. | 1 | 32955 | 32955
C | IDU Refnut Joints | Nos. | 7 | 5000 | 35000
Sub Total |  |  |  |  | 641775
GST 18% |  |  |  |  | 115519.5
Total (High Side) |  |  |  |  | 757294.5

## LS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 27.05.2026
Lalpath lab - Kharghar
Site Address: - Shop No 4, Anant CHS, opposite Vijay Sales, Sector 4, Kharghar, Navi Mumbai, Panvel, Maharashtra 410210
BILL OF QUANTITIES
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of Daikin Make 6 HP VRV Outdoor Unit Side Discharge | HP | 12 | 1200 | 14400
B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
1 | Labour Charges towards VRV 4 Way Cassette AC Indoor Unit 1.6 TR - FXFSQ50ARV16 | Nos | 2 | 2250 | 4500
2 | Labour Charges towards VRV 1 Way Cassette AC Indoor Unit 1.08 TR - FXKQ32ARV16 | Nos | 1 | 2250 | 2250
3 | Labour Charges towards VRV Hi Wall AC Indoor Unit 0.6 TR - FXAQ32ARVE6 | Nos | 2 | 1650 | 3300
4 | Labour Charges towards VRV Hi Wall AC Indoor Unit 1.08 TR - FXAQ32ARVE6 | Nos | 3 | 1650 | 4950
5 | Labour Charges towards VRV Hi Wall AC Indoor Unit 1.6 TR - FXAQ50ARVE6 | Nos | 1 | 1650 | 1650
C | Installtion IDU Refnets (Y-Distribution) Joints for Units | Nos | 7 | 600 | 4200
1 | Nitrogen Gas flushing forall the above units as per there CU Piping length and the Indoor unit capacity . | HP | 12 | 500 | 6000
D | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 95 | 1900 | 180500
E | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.5 Sqmm with conduits | Rmt | 115 | 175 | 20125
2 | Supply & Labour towards Power Cable for IDU 3Core 2.5 Sqmm | Rmt | 19 | 190 | 3610
3 | Control wiring / network wiring using recommended quality of multicore wires. All cabling/wiring should be installed in PVC conduits to facilitate replacement in case of any fault in future - 2.5 Sq.MM x 4 Core. PVC conduits should be joined using a suitable adhesive to ensure a secure and durable connection. | Rmt | 15 | 210 | 3150
F | Drain Pipe with insulation:
1 | Supply & Labour charges towards PVC Drain Piping 25mm / 32mm | Rmt | 25 | 175 | 4375
2 | Supply & Labour charges towards PVC Drain Piping 40mm | Rmt | 45 | 190 | 8550
Note: Vertial drain till Nali trap to be provided by plumber
G | Indoor Drain Pump for Hi Wall | Nos | 5 | 7500 | 37500 | IF REQUIRED
H | Additional Refrigerant Charging as per copper length. | Kg's | 20 | 1500 | 30000
I | Fabrication of Outdoor Unit Stand for 6 HP VRV unit | Nos | 2 | 7500 | 15000
J | Lifting Shifting VRV ODU Mahatadi Charges | Lot | 1 | 15000 | 15000
K | Transportation of spares and materials | Lot | 1 | 3500 | 3500
L | Scaffolding Charges for IDU Unit | Nos | 1 | 14000 | 14000
Total Basic Low side for machine installation |  |  |  |  | 376560
67780.8
Total (Low Side) |  |  |  |  | 444340.8
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals
9 | All Electrical power cables and power points will under the customer scope.
10 | We have not consider Linear Grill and Collar Damper in Quotation

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated | 27.05.2026
Lalpath lab - Kharghar
Site Address: - Shop No 4, Anant CHS, opposite Vijay Sales, Sector 4, Kharghar, Navi Mumbai, Panvel, Maharashtra 410210
BILL OF QUANTITIES
LOW SIDE WORK
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.