## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Cholamandalam Investment & Finance Company Limited |  |  | Date :- | 10.09.2024
Site Address: - 2nd Floor, Plot no.2, Jobner Road, Phulera
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Wating Area | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
2 | Cash Counter | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
3 | Storage | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
4 | Storage | 2.0 TR Cassette Unit | Nos. | 1 |  | 0
5 | Work Station Area | 2.0 TR Cassette Unit | Nos. | 2 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT | As per PO |  |  |  | Additional Material
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR |  | Nos. | 2 | 1500 | 3000 | UNIT | QTY. | BASIC RATE | AMOUNT | UNIT | QTY. | BASIC RATE | AMOUNT
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 2.0 TR |  | Nos. | 4 | 3500 | 14000 | Nos. | 2 | 1500 | 3000 | Nos. | 1 | 1500 | 1500
3 | Providing and laying refrigerent copper pipe with insulation Upto 2.0 TR |  | Mtrs. | 105 | 850 | 89250 | Nos. | 3 | 3500 | 10500 | Nos. |  |  | 0
4 | Providing and laying of 3C 2.5 sqmm electrical cable (Interconnect) |  | Mtrs. | 115 | 160 | 18400 | Mtrs. | 85 | 850 | 72250 | Mtrs. | 20 | 850 | 17000
5 | Providing and laying of 25mm dia PVC drain pipe |  | Mtrs. | 55 | 125 | 6875 | Mtrs. | 95 | 160 | 15200 | Mtrs. | 20 | 160 | 3200
6 | Insulation on Drain Pipe |  | Mtrs. | 0 | 120 | 0 | Mtrs. | 50 | 125 | 6250 | Mtrs. | 5 | 125 | 625
7 | Supply and installation of MS stand for outdoor unit - Hi Wall Unit |  | Nos. | 3 | 1000 | 3000 | Mtrs. |  |  | 0 | Mtrs. | 25 | 120 | 3000
8 | Supply and installation of MS stand for outdoor unit - Cassette Unit |  | Nos. | 3 | 1500 | 4500 | Nos. | 3 | 1000 | 3000 | Nos. |  |  | 0
9 | Chiseling Work |  | Mtrs. | 75 | 150 | 11250 | Nos. |  |  | 0 | Nos. | 3 | 1500 | 4500
10 | Core Cutting |  | Nos. | 2 | 2000 | 4000 | Mtrs. | 20 | 150 | 3000 | Mtrs. | 55 | 150 | 8250
11 | Gas top up R410A ( > 15 Mtr Length ) |  | Nos. | 3 | 1250 | 3750 | Nos. |  |  | 0 | Nos. | 2 | 2000 | 4000
12 | Stablizers 4 KVA ( V Guard-170 V Up ) |  | Nos. | 3 | 5200 | 15600 | Nos. | 3 | 1250 | 3750 | Nos. |  |  | 0
13 | Stablizers 5 KVA ( V Guard-170 V Up ) |  | Nos. | 3 | 5580 | 16740 | Nos. |  |  | 0 | Nos. | 3 | 5200 | 15600
D | TOTAL BASIC LOW SIDE |  |  |  |  | 190365 | Nos. |  |  | 0 | Nos. | 3 | 5580 | 16740
E | GST@ 18% |  |  |  |  | 34265.7 | TOTAL BASIC LOW SIDE |  |  | 116950 | TOTAL BASIC LOW SIDE |  |  | 74415
F | Total Low Side Value |  |  |  |  | 224630.7 | GST@ 18% |  |  | 21051 | GST@ 18% |  |  | 13394.7
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 224630.7 | Total Low Side Value |  |  | 138001 | Total Low Side Value |  |  | 87809.7
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals