## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Cosmos Bank |  |  | Date :- | 18.01.2025
Site Address: - Hyderabad Branch (King Koti) 3-5-798, Pratima Schalass, 1st Floor, New No.248, Street No.8, Hyderguda, King Koti Road, Hyderabad 500029
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Server Room | Daikin FTKL35 1.0 TR 3 star Inv Hi wall Unit | Nos. | 1 | 26000 | 26000
2 | UPS Room | Daikin FTKL35 1.0 TR 3 star Inv Hi wall Unit | Nos. | 1 | 26000 | 26000
3 | Agm - 1 | Daikin FTKL35 1.0 TR 3 star Inv Hi wall Unit | Nos. | 1 | 26000 | 26000
4 | Agm - 2 | Daikin FTKL35 1.0 TR 3 star Inv Hi wall Unit | Nos. | 1 | 26000 | 26000
5 | GM | Daikin FTKL50 1.5 TR 3 star Inv Hi Wall Unit | Nos. | 1 | 29500 | 29500
6 | DGM Room | Daikin FTKL35 1.0 TR 3 star Inv Hi wall Unit | Nos. | 1 | 26000 | 26000
7 | Conference Room | Daikin FCVFQ71 2.0 TR 3 star Inv Cassette Unit | Nos. | 1 | 61700 | 61700
8 | Work Area | Daikin FCVFQ50 1.5 TR 3 star Inv Cassette Unit | Nos. | 3 | 55500 | 166500
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 387700
B | GST @ 28% |  |  |  |  | 108556
C | Total High Side Value |  |  |  |  | 496256
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR & 1.5 TR |  | Nos. | 6 | 1500 | 9000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 1.5 TR & 2.0 TR |  | Nos. | 4 | 3000 | 12000
3 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 76 | 850 | 64600
4 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 74 | 950 | 70300
5 | Interconnecting Cable Indoor & Outdoor For Hi wall Unit |  | Mtrs. | 160 | 140 | 22400
6 | Interconnecting Cable Indoor & Outdoor For Cassette Unit |  | Mtrs. | 155 | 140 | 21700
7 | Drain Pipe 25 mm PVC Pipe |  | Mtrs. | 40 | 120 | 4800
8 | Drain Pipe 32mm PVC Pipe |  | Mtrs. | 25 | 145 | 3625
9 | Outdoor Unit L -Type Stand |  | Nos. | 6 | 850 | 5100
10 | Outdoor Unit L -Type Jumbo Stand |  | Nos. | 4 | 1200 | 4800
11 | Core Cuting |  | Nos. | 8 | 2000 | 16000
12 | Chiseling Work |  | Mtrs. | 25 | 140 | 3500 | If Required
13 | Nitrogen Testing, Flushing and Vaccumizing for Cassette Unit |  | Nos. | 4 | 1500 | 6000
14 | Drain Pump |  | Nos. | 2 | 6500 | 13000
15 | Ac Timer |  | Nos. | 1 | 3000 | 3000 | If Required
D | TOTAL BASIC LOW SIDE |  |  |  |  | 259825
E | GST@ 18% |  |  |  |  | 46768.5
F | Total Low Side Value |  |  |  |  | 306593.5
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 802849.5
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals