## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Reliance Nippon Life Insurance Co. Ltd. |  |  | Date :- | 23.04.2025
Site Address: - 2nd Floor, priya complex, Raja Bazaar, East Gopalpur Near Central By Motihari Bihar - 845401
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 |  | Hi Wall Unit 2.0 TR | Nos. | 4 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Existing AC Dismantling of Hi-wall Unit |  | Nos. | 4 | 750 | 3000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 2.0 TR |  | Nos. | 4 | 1500 | 6000
3 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 55 | 850 | 46750
4 | Interconnecting Cable Indoor & Outdoor 4C/2.5Sqmm |  | Mtrs. | 65 | 140 | 9100
5 | Drain Pipe 25 mm PVC |  | Mtrs. | 25 | 120 | 3000
6 | Outdoor Unit L -Type Stand |  | Nos. | 4 | 800 | 3200
7 | Gas top up R410A |  | Nos. | 2 | 2000 | 4000
8 | Stabilizer 4 KVA (170V - 270V) |  | Nos. | 4 | 4000 | 16000
9 | Nitrozen Testing & Flushing |  | Nos. | 4 | 1200 | 4800
D | TOTAL BASIC LOW SIDE |  |  |  |  | 95850
E | GST@ 18% |  |  |  |  | 17253
F | Total Low Side Value |  |  |  |  | 113103
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals