## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Cholamandalam Investment & Finance Company Limited |  |  | Date :- | 23.07.2024
Site Address: - First Floor, SD Tower, Basant Nagar, Khasra No.4637,4638, Behind Osram Factory, Civil Hospital, Sonipat Haryana – 131001
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Server Room | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
2 | Pantry Area | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
3 | Left Side | 1.5 TR Hi Wall Unit | Nos. | 4 |  | 0
4 | Right Side | 1.5 TR Hi Wall Unit | Nos. | 2 |  | 0
5 | Right Sde 3 Sheet | 2.0 TR Hi Wall Unit | Nos. | 1 |  | 0
6 | Right Sde 4 Sheet | 2.0 TR Hi Wall Unit | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR & 1.5 TR & 2.0 TR |  | Nos. | 10 | 1500 | 15000
2 | Refrigeration Piping for Hi Wall Unit - 1.0 TR & 1.5 TR & 2.0 TR |  | Mtrs. | 390 | 850 | 331500
3 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 780 | 140 | 109200
4 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 35 | 140 | 4900
5 | Outdoor Unit L-Stand For Hi Wall Unit |  | Nos. | 10 | 800 | 8000
6 | Civil Work |  | Mtrs. | 55 | 120 | 6600 | Note: Not In RC
7 | Supply of Ladder for 3 days (3 Nos.) |  | L/S | 1 | 5000 | 5000 | Note: Not In RC
8 | Wrapping Tape |  | Nos. | 40 | 150 | 6000 | Note: Not In RC
9 | Core Cutting |  | Nos. | 5 | 2000 | 10000 | Note: Not In RC
D | TOTAL BASIC LOW SIDE |  |  |  |  | 496200
E | GST@ 18% |  |  |  |  | 89316
F | Total Low Side Value |  |  |  |  | 585516
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 585516
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals