## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Cosmos Bank |  |  | Date :- | 13.08.2024
Site Address: - Manik Soc Sunmill Compound, Lane S J Marg Lower, Parel, Mumbai 400 013
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Server Room | 1.0 TR Hi Wall Unit | Nos. | 2 |  | 0
2 | Manager Cabin | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
3 | ATM | 1.0 TR Hi Wall Unit | Nos. | 2 |  | 0
4 | Work Area | 4.0 TR Cassette unit | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Dismantling Of Exsiting Hi Wall Unit and Cassette Unit |  | Nos. | 2 | 1000 | 2000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR |  | Nos. | 5 | 1500 | 7500
3 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette unit - 4.0 TR |  | Nos. | 1 | 4500 | 4500
4 | Refrigeration Piping for Hi wall Unit - 1.0 TR |  | Mtrs. | 60 | 850 | 51000
5 | Refrigeration Piping for Cassette Unit - 4.0 TR |  | Mtrs. | 13 | 1000 | 13000
6 | Interconnecting Cable Indoor & Outdoor for Hi wall Unit |  | Mtrs. | 70 | 140 | 9800
7 | Interconnecting Cable Indoor & Outdoor for Cassette Unit |  | Mtrs. | 14 | 160 | 2240
8 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 51 | 120 | 6120
9 | Outdoor Unit Stand L-Type |  | Nos. | 2 | 850 | 1700
10 | Ac Timer |  | Nos. | 2 | 3000 | 6000
D | TOTAL BASIC LOW SIDE |  |  |  |  | 103860
E | GST@ 18% |  |  |  |  | 18694.8
F | Total Low Side Value |  |  |  |  | 122554.8
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 122554.8
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals