## Option 2
HVAC BOQ FOR BEVERLY HEIGHT
HIGH SIDE RATE
Item No. | Pay | Description | Qty | Rate | Amount
Unit
1.1 |  | SYSTEM For Tower - 1
a | Each | 1.0 Tr Hi wall Split Unit 3 Star | 2 |  | 0
b | Each | 1.5 Tr Hi wall Split Unit 3 Star | 4 |  | 0
c | Each | 2.0 Tr Casette Unit | 3 |  | 0
1.1 |  | SYSTEM For Tower - 2
a | Each | 1.0 Tr Hi wall Split Unit 3 Star | 2 |  | 0
c | Each | 1.5 Tr Hi wall Split Unit 3 Star | 13 |  | 0
|  | Sub-Total For High Side Work |  |  | 0
|  | GST - 28% |  |  | 0
|  | Total |  |  | 0
LOW SIDE RATE
1.1 |  | SYSTEM For Tower - 1
Installation,testing and commissioning
a | Each | 1.0 Tr Hi wall Split Unit 3 Star | 2 | 1500 | 3000
b | Each | 1.5 Tr Hi wall Split Unit 3 Star | 4 | 1500 | 6000
c | Each | 2.0 Tr Casette Unit | 3 | 2000 | 6000
1.1 |  | SYSTEM For Tower - 2
a | Each | 1.0 Tr Hi wall Split Unit 3 Star | 2 | 1500 | 3000
c | Each | 1.5 Tr Hi wall Split Unit 3 Star | 13 | 1500 | 19500
1.1.3 |  | REFRIGERANT PIPING & CABLING FOR THIS SYSTEM
Supply and installation of copper refrigerant piping of various sizes duly insulated with closed cell elastomeric insulation thickness (13/19 mm) as specified by manufacturer,as per pipe size for internal and for exposed to atmosphere pipe in addition to this insulation fire retardent UV coating required, complete with proper GI supports etc, including cable tray ,Slotted channels wherever required as per recommendation of consultant/site engineer.All related civil work such as chasing in wall,making cores cutting and filling the same with Fire rated Material shall be inclusive in the quoted price.
a) RAP valves as required,
b) Distributors, Ref. Net Kits, etc.
c) 19mm Insulation as specified.
d) All other accessories as required
1.1.3.1 | Mtr | For System 1 | 250 | 1050 | 262500 | (Excluding Cable Tray & Civil Work i.e. Corecutting or Chiseling)
* The distance indicated is between the outdoor and indoor units and will be measured as a single length including supply and return lines.
1.1.4 |  | Cabling for this system
Supply& installation of armoured & Unarmoured (copper) cabling or wires in PVC. Conduits/ Al Trunking Cable Trays interconnecting the units of various systems for power / control
1.1.4.1 | RMT | For System 1 | 250 | 125 | 31250
1.1.5 |  | DRAIN PIPING
Supply and laying of hard PVC piping for drain piping complete with 6mm thick Nitrile rubber insulation as specified.
1.1.5.1 | RMT | 32 dia Nominal Bore | 250 | 120 | 30000
1.1.6 | Nos | MS Powder coated Structure for Outdoor Units | 24 | 2500 | 60000
|  | Sub-Total For Low Side Work |  |  | 421250
|  | GST -18% |  |  | 75825
|  | Total |  |  | 497075
Total for UNITS
|  | GRAND TOTAL |  |  | 421250
GST EXTRA 28% & 18%