## Summary
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name |  | Dated | 2026-03-04
Bandhan Bank Ltd (Vashi, Navi Mumbai)
Site Address: - Palm Beach Galleria, Ground Floor, Shop No.-12, Sector-19D, Palm Beach Road, Vashi, Navi Mumbai, Maharashtra - 400703
SR. NO | ITEM | BOQ AMOUNT (Rs) | BOQ GST (Rs) | BOQ AMOUNT WITH GST (Rs)
HIGH SIDE WORK
| TOTAL HIGH SIDE WORK | 0 | 0 | 0
LOW SIDE WORK
| TOTAL LOW SIDE WORK | 493110 | 88759.8 | 581869.8
COMPREHENSIVE ANNUAL MAINTENANCE CONTRACT - 5 YEARS COST
| TOTAL COMPREHENSIVE ANNUAL MAINTENANCE CONTRACT | #REF! | #REF! | #REF!
| TOTAL HIGH SIDE WORK + LOW SIDE WORK + AMC | #REF! | #REF! | #REF!

## HS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 19.03.2026
Bandhan Bank Ltd (Vashi, Navi Mumbai)
Site Address: - Palm Beach Galleria, Ground Floor, Shop No.-12, Sector-19D, Palm Beach Road, Vashi, Navi Mumbai, Maharashtra - 400703
BILL OF QUANTITIES
HIGH SIDE WORK
Sr. No. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
ATM - Supply and Installation of Daikin VRV Airconditioners
A | Daikin Outdoor Units
1 | Supply of Daikin Make 8 HP VRV Outdoor Unit Side Discharge - RX(Y)MQ8 | Nos. | 1 |  | 0
B | Daikin Indoor Units
1 | Supply of Daikin Make VRV 4 Way Cassette AC Indoor Unit 1.0 TR - FXFSQ32ARV16 | Nos. | 2 |  | 0
2 | Supply of Daikin Make VRV 4 Way Cassette AC Indoor Unit 1.5 TR - FXFSQ50ARV16 | Nos. | 1 |  | 0
2 | Supply of Daikin Make VRV Hi-Wall unit AC Indoor Unit 1.0 TR - FXAQ32ARVE6 | Nos. | 2 |  | 0
3 | Supply of Daikin Make VRV Hi-Wall unit AC Indoor Unit 1.25 TR - FXAQ40ARVE6 | Nos. | 1 |  | 0
C | Cordless Remote controller for Cassette / Hi-Wall / Low Static Ducted units | Nos. | 6 |  | 0
D | IDU Refnet Joints
1 | IDU Refnut Joints | Nos. | 5 |  | 0
Sub Total |  |  |  |  | 0
GST 18% |  |  |  |  | 0
Total (High Side) |  |  |  |  | 0

## LS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 19.03.2026
Bandhan Bank Ltd (Vashi, Navi Mumbai)
Site Address: - Palm Beach Galleria, Ground Floor, Shop No.-12, Sector-19D, Palm Beach Road, Vashi, Navi Mumbai, Maharashtra - 400703
BILL OF QUANTITIES
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of 8 HP VRV Outdoor Unit. | HP | 8 | 1500 | 12000
B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
1 | Labour charges towards Installation of VRV 4 Way Cassette AC Indoor Unit 1.0 TR | Nos | 2 | 2800 | 5600
2 | Labour charges towards Installation of VRV 4 Way Cassette AC Indoor Unit 1.5 TR | Nos | 1 | 2800 | 2800
3 | Labour charges towards Installation of Hi-Wall unit AC Indoor Unit 1.0 TR | Nos | 2 | 1500 | 3000
5 | Labour charges towards Installation of Hi-Wall unit AC Indoor Unit 1.25 TR | Nos | 1 | 1500 | 1500
C | Installtion IDU Refnets (Y-Distribution) Joints for Units | Nos | 5 | 500 | 2500
1 | Nitrogen Gas flushing forall the above units as per there CU Piping length and the Indoor unit capacity . | HP | 8 | 500 | 4000
D | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 150 | 1850 | 277500
E | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.5 Sqmm with conduits for VRV Units | Rmt | 160 | 185 | 29600
2 | Control wiring / network wiring using recommended quality of multicore wires. All cabling/wiring should be installed in PVC conduits to facilitate replacement in case of any fault in future - 1.5 Sq.MM x 3 Core. PVC conduits should be joined using a suitable adhesive to ensure a secure and durable connection. | Rmt | 40 | 190 | 7600
F | Drain Pipe :
1 | Supply & Labour charges towards PVC Drain Piping 32mm | Rmt | 70 | 190 | 13300
2 | Supply & Labour charges towards PVC Drain Piping 25mm | Rmt | 50 | 180 | 9000
Note: Vertial drain till Nali trap to be provided by plumber
G | Indoor Drain Pump - for VRV HI WALL UNIT | Nos | 2 | 7500 | 15000
I | Supply and Installation of 200 - Maximum Noise level 35 dB (A) Static Pressure 10-20 mmwg | Nos. | 1 | 14000 | 14000
J | Supply & Installation of 24G Rectangular ducting for Fresh Air with clamp supports etc. | Sqft | 300 | 135 | 40500
K | Factory fabricated fire retardant flexible connection made of high quality self extinguishing, moisture resistant flexible fabric with matching angle flanges between Ducted/TFA/Exhaust & fresh air unit outlet flange. | Nos | 6 | 1900 | 11400
L | Supply and Installation of fire rated Canvass Connection for Fresh Air Fan | Nos | 2 | 1785 | 3570
M | Supply and Installation and testing of Mild steel air Louvered with Bird Screen | Sqft | 2 | 850 | 1700
N | Supply and Labour charges towards Installation of Disc Valves - 100 mm Dia | Nos | 2 | 1200 | 2400
I | Additional Refrigerant Charging as per copper length. | Kg's | 16 | 1350 | 21600
J | Fabrication of Outdoor Unit Stand for 08 HP VRV unit | Nos | 1 | 14000 | 14000
M | Installation, Testing & Commisioning of Cordless Remote controller for Cassette / Hi-Wall / Low Static Ducted units | Nos | 6 | 90 | 540
Total Basic Low side for machine installation |  |  |  |  | 493110
GST 18% |  |  |  |  | 88759.8
Total (Low Side) |  |  |  |  | 581869.8

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated | 2026-03-04
Bandhan Bank Ltd (Vashi, Navi Mumbai)
Site Address: - Palm Beach Galleria, Ground Floor, Shop No.-12, Sector-19D, Palm Beach Road, Vashi, Navi Mumbai, Maharashtra - 400703
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.

## Vendor Details
LOW SIDE PO TO BE CREATED ON THE NAME OF Daikin's Authorised Dealer as per below Details
Dealer Firm's Name : | Aeon Airconditioning Solutions
Dealer GST No. : | 27AYYPS2229K1ZK
Dealer Pan Number: | AYYPS2229K
Contact person 1 (Project Incharge) : | Amira Khan
Contact No. 1 : | 9137940454
Contact person 2 (Propreitor) : | Mr. Mohd. Asim Shaikh
Contact No. 2 : | 9820580008
Email Id : | support@aeonacsolutions.com / asim.shaikh@aeonacsolutions.com
Address : | Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra.