## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Workshop & Office: - Aeon House, Shop No 6/7, Behind N Cube China Town Opp. Shishu Gnyan Mandir
Dr. Ambedkar Rd. Thane W 400601. Phone - 9322334106 / 9322334108
Company Name |  | Dated |  | 20.02.2024
Vectic
Site Address: - F-1B, GURUPRASAD DIVINE RESIDENCY, SWASTIK PARK, PT. C.R. VYAS MARG, CHEMBUR, MUMBAI - 400071
BILL OF QUANTITIES
HIGH SIDE WORK
SR. NO. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin Ductable and Hi Wall Airconditioners
A | Daikin Units
1 | Supply of Daikin Make Ductable AC Unit 8.5 TR - FDR100FRV16 | Nos. | 2 |  | 0
2 | Supply of Daikin Make Ductable AC Unit 5.5 TR - FDR65FRV16 | Nos. | 1 |  | 0
3 | Supply of Daikin Make Hi Wall AC Unit 1.5 TR - FTKM50U | Nos. | 1 |  | 0
4 | Supply of Daikin Make Hi Wall AC Unit 1.0 TR - FTKM35U | Nos. | 1 |  | 0
| Sub Total |  |  |  | 0
| GST 28% |  |  |  | 0
| Total (High Side) |  |  |  | 0
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation, Testing & Commissioning Charges for Ductable and Hi Wall Units
1 | Labour charges towards Installation of Ductable Unit 8.5 TR | Nos | 2 | 8500 | 17000
2 | Labour charges towards Installation of Ductable Unit 5.5 TR | Nos | 1 | 5500 | 5500
3 | Labour charges towards Installation of Hi Wall Unit 1.5 TR | Nos | 1 | 1500 | 1500
4 | Labour charges towards Installation of Hi Wall Unit 1.0 TR | Nos | 1 | 1500 | 1500
B | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Installation towards Copper pipe with Nitrile Insulation as Required - Elbows/Cupling /Wooden Supports Etc. for 8.5 TR Ductable unit | Rmt | 45 | 1500 | 67500
2 | Supply & Installation towards Copper pipe with Nitrile Insulation as Required - Elbows/Cupling /Wooden Supports Etc. for 5.5 TR Ductable unit | Rmt | 12 | 1100 | 13200
3 | Supply & Installation towards Copper pipe with Nitrile Insulation as Required - Elbows/Cupling /Wooden Supports Etc. for 1.5 and 1.0 TR Hi Wall unit | Rmt | 25 | 825 | 20625
C | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 3 Core 2.5 Sqmm conduits | Rmt | 67 | 190 | 12730
2 | Supply & Labour towards Communication Cable betweem IDU to ODU 4 Core 1.5 Sqmm conduits | Rmt | 67 | 150 | 10050
2 | Supply & Labour towards Communication Cable betweem IDU to ODU 4 Core 2.5 Sqmm conduits | Rmt | 35 | 170 | 5950
3 | Supply & Labour towards Power Cable betweem IDU to ODU 3 Core 2.5 Sqmm conduits | Rmt | 15 | 190 | 2850
D | Drain Pipe :
1 | Supply & Labour charges towards PVC Drain Piping 40mm | Rmt | 35 | 225 | 7875
2 | Supply & Labour charges towards PVC Drain Piping 32mm | Rmt | 15 | 210 | 3150
E | Ducting work
1 | Fabrication, supply, installation, testing & commissioning of ducting complete with splitter dampers, turning vanes, supports etc. as per drawings - 22 G for Ductable ACs | Sqmt | 8 | 1090 | 8720
2 | Fabrication, supply, installation, testing & commissioning of ducting complete with splitter dampers, turning vanes, supports etc. as per drawings - 24 G for Ductable ACs | Sqmt | 140 | 900 | 126000
3 | Supply & Application of 9 mm thick Closed Cell nitrile rubber insulation for Ducting | Sqmt | 148 | 470 | 69560
4 | Supply & Installation of Supply & Return Air Diffusers | Sqmt | 8 | 12000 | 96000
5 | Supply & Installation of Supply & Return Air Grills | Sqmt | 2 | 5800 | 11600
6 | Supply & Installation of Volume Control Damper | Sqmt | 1 | 6000 | 6000
7 | Labour charges towards Supply and Installation charges towards Installation of Inline Cabinet Exhaust Fan 1400 CFM / 20mm Static | Nos | 1 | 30000 | 30000
8 | Labour charges towards Supply and Installation charges towards Installation of Inline Cabinet Exhaust Fan 600 CFM / 20mm Static | Nos | 3 | 22000 | 66000
9 | Labour charges towards Supply and Installation charges towards Installation of Inline Circular Exhaust Fan 300 CFM / 20mm Static | Nos | 2 | 8500 | 17000
10 | Fabrication, supply, installation, testing & commissioning of ducting complete with splitter dampers, turning vanes, supports etc. as per drawings - 24 G for Exhaust fan | Sqmt | 40 | 900 | 36000
11 | Labour charges towards Supply and Installation of Fresh Air Fan 340 CFM/10mm Static for Ductable ACs | Nos | 2 | 11000 | 22000
12 | Supply, installation and testing of Mild steel air Louvered with Bird Screen | Nos | 7 | 5600 | 39200
13 | Supply & Installation of Propeller fan for Exhaust Air | Nos | 6 |  | 0 | Customer Scope
14 | Supply and Installation of fire rated Canvass Connection | Nos. | 11 | 2200 | 24200
F | Lifting Shifting | Lot | 1 | 20000 | 20000
G | Civil work for cutting chiseling of wall to conseal copper pipe , drain pipe electrical wire with plaster and Core Cutting | L/S | 1 | 10000 | 10000
H | Transportation of Material Oxy Acytlene Set / Nitrogen and Other tools. | L/S | 1 | 5000 | 5000
I | FABRICATED STAND FOR ODU
1 | Charges towards FABRICATED STAND - For 8.5 TR Ductable unit | Nos | 2 | 3500 | 7000
2 | Charges towards FABRICATED STAND - For 5.5 TR Ductable unit | Nos | 1 | 2500 | 2500
3 | Charges towards FABRICATED STAND - For 1.5 TR & 1.0 TR Split AC unit | Nos | 2 | 800 | 1600
| Total Basic Low side for machine installation |  |  |  | 767810
| GST 18% |  |  |  | 138205.8
| Total (Low Side) |  |  |  | 906015.8
| Grand Total |  |  |  | 906015.8
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals