## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106
| Company Name |  | Dated | 20.11.2023
Kath N Ghat Restaurant
Site Address: - Thane
BILL OF QUANTITIES
HIGH SIDE WORK
SR. NO. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin VRV Ductable Airconditioners
A | Daikin Outdoor Units
1 | Supply of Daikin Make 20 HP VRV Outdoor Unit Top Discharge - RXQ20ARY6 | Nos. | 1 |  | 0
2 | Supply of Daikin Make 16 HP VRV Outdoor Unit Top Discharge - RXQ16ARY6 | Nos. | 1 |  | 0
B | Daikin Indoor Units
1 | Supply of Daikin Make VRV Ductable AC Indoor Unit 8.3 TR - FXMQ250NVE6 | Nos. | 2 |  | 0
2 | Supply of Daikin Make VRV Cassette AC Indoor Unit 4.1 TR - FXFSQ125ARV16 | Nos. | 3 |  | 0
3 | Supply of Daikin Make VRV Cassette AC Indoor Unit 2.66 TR - FXFSQ80ARV16 | Nos. | 1 |  | 0
4 | Supply of Daikin Make VRV Cassette AC Indoor Unit 1.08 TR - FXFSQ32ARV16 | Nos. | 1 |  | 0
5 | Supply of Daikin Make VRV Floor standing type AC Indoor Unit 1.6 TR - FXLQ50MAVE | Nos. | 1 |  | 0
6 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 1.08 TR - FXAQ32ARVE6 | Nos. | 1 |  | 0
C | Refnets | Nos. | 7 |  | 0
| Sub Total |  |  |  | 0
| GST 28% |  |  |  | 0
| Total (High Side) |  |  |  | 0
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Testing & Commissioning Charges for VRV Outdoor Unit and VRV indoor unit
1.1 | Labour charges towards Installation of 20 HP VRV Outdoor Unit. | Each | 1 | 20000 | 20000
1.2 | Labour charges towards Installation of 16 HP VRV Outdoor Unit. | Each | 1 | 16000 | 16000
2 | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
2.1 | Labour charges towards Installation of VRV Ductable AC Indoor Unit 8.3 TR | Nos | 2 | 8500 | 17000
2.2 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 4.1 TR | Nos | 3 | 4000 | 12000
2.3 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 2.66 TR | Nos | 1 | 2500 | 2500
2.4 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 1.08 TR | Nos | 1 | 2500 | 2500
2.5 | Labour charges towards Installation of VRV Floor standing type AC Indoor Unit 1.6 TR | Nos | 1 | 2500 | 2500
2.6 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 1.08 TR | Nos | 1 | 1500 | 1500
2.7 | Labour charges towards Nitrogen Pressure Testing, vaccuming, gas charging and Start up Commissioning of 20 HP & 16 HP VRV outdoor Units. | Nos | 2 | 5500 | 11000
3 | Installation Refnets (Y-Distribution) Joints for Units | Nos | 7 | 500 | 3500
4 | Refrigerant Piping with Rubber Nitrile insulation
| Supply & Installation towards Copper pipe with Nitrile Insulation 19mm as Required - Elbows/Cupling /Wooden Supports Etc. for VRV Units | Rmt | 80 | 1650 | 132000
5 | Control Cabling :
5.1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.5 Sqmm conduits | Rmt | 95 | 155 | 14725
5.2 | Supply & Labour towards Power Cable betweem IDU to ODU 3 Core 1.5 Sqmm conduits | Rmt | 18 | 175 | 3150
6 | Drain Pipe
6.1 | Supply & Labour charges towards PVC Drain Piping 40mm | Rmt | 20 | 190 | 3800
6.2 | Supply & Labour charges towards PVC Drain Piping 50mm | Rmt | 20 | 210 | 4200
7 | Ducting work
7.1 | Labour charges towards Supply and Installation of Fresh Air Fan 500 CFM/10mm Static for Ductable ACs | Nos | 1 | 15500 | 15500
7.2 | Supply & Installation of Oval ducting with Nitrile Insulation with clamp supports etc. | Sqft | 1200 | 255 | 306000
7.3 | Supply & Installation of Linear Grill | Sqft | 45 | 675 | 30375
7.4 | Supply & Installation of Wire mesh | Nos | 2 | 1350 | 2700
8 | Canvas Connection
| Supply and Installation of fire rated Canvass Connection | Nos. | 3 | 5500 | 16500
9 | Refrigerant Charging & Nitrogen Testing | Kg's | 28 | 950 | 26600
10 | Lifting Shifting | Lot | 1 | 25000 | 25000
11 | Transportation of Material Oxy Acytlene Set / Nitrogen and Other tools. | L/S | 1 | 2500 | 5000
12 | Cowl piece for outdoor unit | Nos | 2 | 9800 | 19600
| Total Basic Low side for machine installation |  |  |  | 693650
| GST 18% |  |  |  | 124857
| Total (Low Side) |  |  |  | 818507
Note - Modification of MS Stand For VRV IDU & ODU unit, Civil work and Mathadi charges will be under customer's scope.