## Summary
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name |  | Dated | 06.04.2026
ICICI BANK LTD
Address - Shop No. 6,7,8, Kewal Tower, B.J. Patel Road, Malad (W). Mumbai. Next to Liberty Guardan.
SR. NO | ITEM | BOQ AMOUNT (Rs) | BOQ GST (Rs) | BOQ AMOUNT WITH GST (Rs)
HIGH SIDE
| TOTAL HIGH SIDE | 357860 | 64414.8 | 422274.8
LOW SIDE
| TOTAL LOW SIDE | 241650 | 43497 | 285147
| TOTAL HIGH SIDE + LOW SIDE | 599510 | 107911.8 | 707421.8

## HS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 06.04.2026
Cosmos bank
Address - Shop No. 6,7,8, Kewal Tower, B.J. Patel Road, Malad (W). Mumbai. Next to Liberty Guardan.
BILL OF QUANTITIES
HIGH SIDE WORK
Sr. No. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin VRV Airconditioners
A | Daikin Outdoor Units
1 | Supply of Daikin Make 8 HP VRV Outdoor Unit Side Discharge - RXMQ8ARY16 | Nos. | 1 | 139200 | 139200
B | Daikin Indoor Units
1 | Supply of Daikin Make VRV Cassette AC Indoor Unit 1.6 TR - FXFSQ50ARV16 | Nos. | 3 | 42000 | 126000
2 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 1.08 TR - FXAQ32ARVE6 | Nos. | 1 | 25260 | 25260
3 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 0.8 TR - FXAQ25ARVE6 | Nos. | 1 | 24900 | 24900
4 | Supply of Daikin Make Hi Wall AC Unit 1.0 TR (Non VRV) | Nos. | 1 | 28500 | 28500
C | IDU Refnut Joints | Nos. | 4 | 3500 | 14000
Sub Total |  |  |  |  | 357860
GST 18% |  |  |  |  | 64414.8
Total (High Side) |  |  |  |  | 422274.8

## LS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 06.04.2026
Cosmos Bank
Site Address - Shop No. 6,7,8, Kewal Tower, B.J. Patel Road, Malad (W). Mumbai. Next to Liberty Guardan.
BILL OF QUANTITIES
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of 8 HP VRV Outdoor Unit. | Nos | 1 | 8000 | 8000
B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
1 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 1.6 TR | Nos | 3 | 2000 | 6000
2 | Labour charges towards Installation of VRV Hi wall AC Indoor Unit 1.08 TR | Nos | 1 | 1500 | 1500
3 | Labour charges towards Installation of VRV Hi wall AC Indoor Unit 0.8 TR | Nos | 1 | 1500
4 | Labour charges towards Installation of Hi Wall AC Unit 1.0 TR (Non VRV) | Nos | 1 | 1650 | 1650
5 | Labour charges towards Nitrogen Pressure Testing, vaccuming, gas charging and Commissioning of 8 HP VRV ODU & IDUs | Nos | 1 | 3000 | 3000
C | Installtion IDU Refnets (Y-Distribution) Joints for Units | Nos | 4 | 500 | 2000
D | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 60 | 1350 | 81000
2 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for Non VRV Units | Rmt | 25 | 1050 | 26250
E | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.0 Sqmm with conduits for VRV Units | Rmt | 25 | 150 | 3750
2 | Supply & Labour towards Communication Cable betweem IDU to ODU 4 Core 1.5 Sqmm for Non VRV Units | Rmt | 65 | 170 | 11050
3 | Supply & Labour towards Power Cable betweem IDU to ODU 3 Core 1.5 Sqmm | Rmt | 25 | 155 | 3875
F | Drain Pipe :
1 | Supply & Labour charges towards PVC Drain Piping 40mm | Rmt | 45 | 170 | 7650
2 | Supply & Labour charges towards PVC Drain Piping 32mm | Rmt | 30 | 140 | 4200
G | Indoor Drain Pump for Hi Wall | Nos | 3 | 6500 | 19500
H | Timer with Relay | Nos | 1 | 3000 | 3000
I | Dismental work :
1 | Ducting / Flexible ducting/ Damper/Diffuser/ Grill/ VRV ODU & IDU / Non VRV ODU & IDU/ODU Stand etc. | Lot | 1 | 12000 | 12000
J | Lifting Shifting VRV ODU & IDU on all floors | Lot | 1 | 10000 | 10000
K | Transportation of spares and materials | Lot | 1 | 2500 | 2500
L | Additional Refrigerant Charging as per copper length. | Kg's | 8 | 1050 | 8400
M | Fabricated Cage Double dacker Outdoor stand for 8HP VRV & Non VRV | Kg's | 135 | 195 | 26325
Total Basic Low side for machine installation |  |  |  |  | 241650
GST 18% |  |  |  |  | 43497
Total (Low Side) |  |  |  |  | 285147
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals
9 | All Electrical power cables and power points will under the customer scope.
10 | We have not consider Linear Grill and Collar Damper in Quotation
11 | Machine order is to be placed in the name of Aeon Airconditioning Solutions
12 | Installation order is to be placed in the name of Aeon Airconditioning Solutions
13 | Machine Delivery - within 2 weeks after getting PO
14 | Machine Installation - within 2-3 weeks after receiving of machines

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated | 06.04.2026
ICICI BANK LTD
Site Address - Shop No. 6,7,8, Kewal Tower, B.J. Patel Road, Malad (W). Mumbai. Next to Liberty Guardan.
BILL OF QUANTITIES
LOW SIDE WORK
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.