## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Workshop & Office: - Aeon House, Shop No 6/7, Behind N Cube China Town Opp. Shishu Gnyan Mandir
Dr. Ambedkar Rd. Thane W 400601. Phone - 9322334106 / 9322334108
Company Name |  | Livspace |  |  | Dated :- | 2024-01-31
Site Address: - KHARDI, PUNE
HIGH SIDE WORK
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Store | Supply of 3.5 TR - CHW Cassette unit - ( Model No - FCW42ARV16 / BYCQ48EAF6 ) | Nos. | 2 | 55000 | 110000
2 |  | Supply of 2.5 TR - CHW Cassette unit - ( Model No - FCW30ARV16 / BYCQ48EAF6 ) | Nos. | 5 | 45500 | 227500
3 |  | Supply of 1.0 TR - CHW Hi Wall unit - ( Model No - FWW05L ) | Nos. | 3 | 25000 | 75000
| TOTAL BASIC HIGH SIDE |  |  |  |  | 412500
| GST @ 28% |  |  |  |  | 115500
B | High Side Value |  |  |  |  | 528000
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Installation,Testing & commissioning of chilled water Cassette unit
1.1 | Installation of 3.5 TR - CHW Cassette unit |  | Nos. | 2 | 4000 | 8000
1.2 | Installation of 2.5 TR - CHW Cassette unit |  | Nos. | 5 | 3350 | 16750
1.3 | Installation of 1.0 TR - CHW Hi Wall unit |  | Nos. | 3 | 1600 | 4800
2 | Supply & installation of M.S. piping with 40mm thick Nitrile rubber insulation (Make - Jindal)
2.1 | SITC of 25 / 32mm Chilled Water Pipe |  | Rmt | 42 | 700 | 29400
2.2 | SITC of 40mm Chilled Water Pipe |  | Rmt | 65 | 850 | 55250
2.3 | SITC of 25 / 32 / 40mm Thick Nitrile Rubber Insulation for Chilled Water pipe |  | Rmt | 110 | 540 | 59400
3 | SITC of Auto Air Vent = 1/2 " |  | Lot. | 1 | 1050 | 1050
4 | SITC of 40mm Y Stainer |  | Nos. | 1 | 4250 | 4250
5 | SITC of 40mm Balancing Valve |  | Nos. | 1 | 6000 | 6000
6 | SITC of Valve Station Assembly for Cassette Units - 32 mm Dia With Insulation |  | Nos. | 7 | 11500 | 80500
7 | SITC of Valve Station Assembly for Split Units - 25 mm Dia With Insulation |  | Nos. | 3 | 8200 | 24600
8 | SITC of Dial Type Pressure Gauge |  | Nos. | 2 | 1650 | 3300
9 | SITC of Thermometer |  | Nos. | 2 | 1650 | 3300
10 | SITC of Control Cabling & power Cabling for Cassette unit |  | Rmt | 30 | 150 | 4500
11 | DRAIN PIPING - Insulated Condensate Water Drain piping constructed out of PVC / HDPE hard pipes, fitting, accessories, bends, elbows, tees, flanges, tappings, wall sleeves, hangers, supports, anchors Fastners. |  | Rmt | 95 | 195 | 18525
12 | Lifting Shifting |  | Lot. | 1 | 5000 | 5000
13 | Civil work for cutting chiseling of wall to conseal copper pipe , drain pipe electrical wire with plaster and Core Cutting |  | L/S | 1 | 4000 | 4000
14 | Transportation Charges |  | L/S | 1 | 3000 | 3000
| TOTAL BASIC LOW SIDE |  |  |  |  | 331625
| GST@ 18% |  |  |  |  | 59692.5
D | Total Low Side Value |  |  |  |  | 391317.5