## BRANCH BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | BAJAJ GOLD |  |  | Date :- | 18.02.2025
Site Address: - 1st floor, ST Stand complex, Roha 402109.
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Office Area | FTKL60UV16U - 1.8TR 3 Star Inverter Split | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.8TR |  | Nos. | 1 | 1400 | 1400
2 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 27 | 800 | 21600
3 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 28 | 120 | 3360
4 | Drain Pipe 25 mm PVC Pipe |  | Mtrs. | 20 | 110 | 2200
5 | Drain Pump |  | Nos. | 1 | 5200 | 5200
6 | Core Cutting |  | Nos. | 1 | 1500 | 1500
7 | Cable Tray Size - 150 x 50 |  | Mtrs. | 40 | 350 | 14000
8 | Outdoor Unit L - Bracket for Hiwall unit |  | Nos. | 1 | 700 | 700
D | TOTAL BASIC LOW SIDE |  |  |  |  | 49960
E | GST@ 18% |  |  |  |  | 8992.8
F | Total Low Side Value |  |  |  |  | 58952.8
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 58952.8
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals