## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | HDB Finance Service Limited |  |  | Date :- | 18.10.2023
Site Address: - Bafana Complex, 1169/1, Plot No.51, Revenue Colony, First Floor, Near Post Office, Nagar Pune Road, Shirur- 412210.
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | GLE Cabin | 1.0 TR Hi Wall AC | Nos. | 1 |  | 0
2 | UPS & Server | 1.0 TR Hi Wall AC | Nos. | 1 |  | 0
3 | Open Premises | 1.5 TR Hi Wall AC | Nos. | 1 |  | 0
4 | Open Premises | 3.0 TR Cassette AC | Nos. | 2 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR & 1.5 TR |  | Nos. | 3 |  | 0
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 3.0 TR |  | Nos. | 2 |  | 0
3 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 30 |  | 0
4 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 35 |  | 0
5 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 70 |  | 0
6 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 75 |  | 0
7 | Outdoor Unit Fabrication Catwalk Stand |  | KG's | 240 |  | 0 | 31000
8 | Drain Pump - Open Premises (1.5 TR Hi Wall AC) |  | Nos. | 1 |  | 0
9 | Core Cutting |  | Nos. | 3 |  | 0
10 | Chiseling Trenching, hole making without plastering |  | RFT | 45 |  | 0
D | TOTAL BASIC LOW SIDE |  |  |  |  | 0
E | GST@ 18% |  |  |  |  | 0
F | Total Low Side Value |  |  |  |  | 0
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 0
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals