## Summary
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 03.04.2026
Methodex System Pvt Ltd
Site Address: - Orient House, Adi Marzban Path, Ballard Estate, Fort, Mumbai, Maharashtra 400001, India
SR. NO | ITEM | BOQ AMOUNT (Rs) | BOQ GST (Rs) | BOQ AMOUNT WITH GST (Rs)
HIGH SIDE
| TOTAL HIGH SIDE | 608560 | 170396.8 | 778956.8
LOW SIDE
| TOTAL LOW SIDE | 393250 | 70785 | 464035
| TOTAL HIGH SIDE + LOW SIDE | 1001810 | 241181.8 | 1242991.8

## HS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 03.04.2026
Methodex System Pvt Ltd
Site Address: - Orient House, Adi Marzban Path, Ballard Estate, Fort, Mumbai, Maharashtra 400001, India
BILL OF QUANTITIES
HIGH SIDE WORK
Sr. No. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin VRV Airconditioners
A | Daikin Outdoor Units
1 | Supply of Daikin Make 14 HP VRV Outdoor Unit Top Discharge - RXQ14ARY6 | Nos. | 1 | 271635 | 271635
B | Daikin Indoor Units
1 | Supply of Daikin Make VRV Cassette AC Indoor Unit 2.66 TR - FXFSQ80ARV16 | Nos. | 2 | 51350 | 102700
2 | Supply of Daikin Make VRV Cassette AC Indoor Unit 2.08 TR - FXFSQ63ARV16 | Nos. | 1 | 46540 | 46540
3 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 1.08 TR - FXAQ32ARVE6 | Nos. | 4 | 27365 | 109460
4 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 2.08 TR - FXAQ63ARVE6 | Nos. | 1 | 30745 | 30745
5 | Daikin VRV AC unit Wireless Handset - Model - BRC4M150W16 | Nos | 8 | 1560 | 12480
C | IDU Refnut Joints | Nos. | 7 | 5000 | 35000
Sub Total |  |  |  |  | 608560
GST 18% |  |  |  |  | 109540.8
Total (High Side) |  |  |  |  | 718100.8

## LS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 03.04.2026
Methodex System Pvt Ltd
Site Address: - Orient House, Adi Marzban Path, Ballard Estate, Fort, Mumbai, Maharashtra 400001, India
BILL OF QUANTITIES
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of Daikin Make 14 HP VRV Outdoor Unit Top Discharge | Nos. | 1 | 16000 | 16000
B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
1 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 2.66 TR | Nos | 2 | 3000 | 6000
2 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 2.08 TR | Nos | 1 | 3000 | 3000
3 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 1.08 TR | Nos | 4 | 1650 | 6600
4 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 2.08 TR | Nos | 1 | 1650 | 1650
C | Installtion IDU Refnets (Y-Distribution) Joints for Units | Nos | 7 | 500 | 3500
D | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 110 | 1900 | 209000
E | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.0 Sqmm with conduits | Rmt | 84 | 105 | 8820
2 | Supply & Labour towards Communication Cable betweem IDU to ODU 3 Core 1.5 Sqmm with conduits | Rmt | 105 | 115 | 12075
3 | Supply & Labour towards Power Cable betweem IDU to ODU 4 Core 2.5 Sqmm | Rmt | 36 | 160 | 5760
F | Drain Pipe :
1 | Supply & Labour charges towards PVC Drain Piping 32mm | Rmt | 56 | 140 | 7840
2 | Supply & Labour charges towards PVC Drain Piping 25mm | Rmt | 25 | 125 | 3125
G | Indoor Drain Pump for Hi Wall | Nos | 5 | 6500 | 32500 | If required
I | Supply & Installation charges towards Installation of Fresh Air Fan 100 CFM | Nos | 1 | 6500 | 6500
J | Supply & Installation of Rectangular Ducting for Fresh Air with clamp supports etc. | Sqft | 36 | 135 | 4860
K | Supply Air Grill With Collar Damper | Sqft | 3 | 1050 | 3150
L | Supply and Installation of fire rated Canvass Connection for Fresh Air Fan | Nos | 2 | 1785 | 3570
M | Supply and Installation and testing of Mild steel air Louvered with Bird Screen | Nos | 1 | 1500 | 1500
N | Additional Refrigerant Charging as per copper length. | Kg's | 12 | 1150 | 13800
P | Lifting Shifting VRV ODU & IDU on all floors | Lot | 1 | 15000 | 15000
Q | Transportation of spares and materials | Lot | 1 | 3500 | 3500
R | Fabrication of Outdoor Unit Platform for VRV | Lot | 1 | 13500 | 13500
S | Mahatadi Charges | Lot | 1 | 12000 | 12000
Total Basic Low side for machine installation |  |  |  |  | 393250
70785
Total (Low Side) |  |  |  |  | 464035
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals
9 | All Electrical power cables and power points will under the customer scope.
10 | We have not consider Linear Grill and Collar Damper in Quotation

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated | 03.04.2026
ICICI BANK LTD
Site Address: - Unit no 1, Ground floor, Vasant Centria, Vasant Oasis, Borosil Plot, Makwana road, Marol Andheri east, Mumbai – 400059.
BILL OF QUANTITIES
LOW SIDE WORK
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.

## nvrv
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 2026-04-03
Methodex System Pvt Ltd
Site Address: - Orient House, Adi Marzban Path, Ballard Estate, Fort, Mumbai, Maharashtra 400001, India
BILL OF QUANTITIES
HIGH SIDE WORK
Supply and Installation of Daikin NON VRV Airconditioners
Sr. No. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Daikin 3TR 4way Cassette unit | Nos. | 1 | 92635 | 92635
2 | Daikin 2TR 4way Cassette unit | Nos. | 3 | 63535 | 190605
3 | Daikin 1TR Split unit | Nos | 1 | 26200 | 26200
A | TOTAL BASIC LOW SIDE |  |  |  | 309440
B | GST@ 18% |  |  |  | 55699.2
C | Total Low Side Value |  |  |  | 365139.2
LOW SIDE WORK
Sr. No. | PARTICULARS | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Split Unit - 1.0TR | Nos. | 1 | 1500 | 1500
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 2.0TR | Nos. | 3 | 3000 | 9000
3 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 3.0TR | Nos. | 1 | 3500 | 3500
4 | Refrigeration Piping for Split Unit | Mtrs. | 10 | 1050 | 10500
5 | Refrigeration Piping for Cassette Unit | Mtrs. | 25 | 1150 | 28750
6 | Interconnecting Cable Indoor & Outdoor Cassette | Mtrs. | 38 | 180 | 6840
7 | Drain Pipe - 25mm Thick Hard PVC | Mtrs. | 8 | 140 | 1120
8 | Drain Pipe - 32mm Thick Hard PVC | Mtrs. | 22 | 160 | 3520
9 | Outdoor Unit Jumbo Stand for Cassette | Nos | 4 | 1600 | 6400
10 | Outdoor Unit Stand for Split | Nos | 1 | 900 | 900
D | TOTAL BASIC LOW SIDE |  |  |  | 72030
E | GST@ 18% |  |  |  | 12965.4
F | Total Low Side Value |  |  |  | 84995.4
G | Total Low Side Value |  |  |  | 450134.6
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals
9 | Machine order is to be placed in the name of Daikin Airconditioning India Pvt Ltd