## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Cholamandalam Investment & Finance Company Limited |  |  | Date :- | 22.10.2024
Site Address: - Ward No.12, Ground Floor, Azad Nagar, Manjhanpur, Near Petrol Pump, Kaushambi (UP) – 212207
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Dismantling Charges of Hi Wall Unit 2.0 TR |  | Nos. | 2 | 1000 | 2000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall 2.0 TR |  | Nos. | 2 | 1500 | 3000
3 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit 2.0 TR |  | Nos. | 2 | 2800 | 5600 | Not in RC
4 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 55 | 850 | 46750
5 | Refrigeration Piping for Cassette AC |  | Mtrs. | 39 | 1050 | 40950 | Not in RC
6 | Interconnecting 4 Core Cable Indoor & Outdoor for Hi-Wall |  | Mtrs. | 102 | 140 | 14280
7 | HP & LT Connection 3 Core Cable wire |  | Mtrs. | 44 | 130 | 5720
8 | Drain water piping work out of PVC hard pipes 25mm |  | Mtrs. | 36 | 140 | 5040
9 | Drain water piping work out of PVC hard pipes 32mm |  | Mtrs. | 34 | 160 | 5440 | Not in RC
10 | Outdoor Unit Stand for Hi Wall AC |  | Nos. | 2 | 800 | 1600
11 | Outdoor Unit Stand for Cassette AC |  | Nos. | 2 | 1600 | 3200 | Not in RC
12 | Gas Chaging old AC |  | KGs | 1 | 950 | 950 | Not in RC
13 | Old AC Service |  | Nos. | 1 | 2300 | 2300
14 | Nitrogen Pressure testing charges in old AC |  | Nos. | 1 | 1200 | 1200 | Not in RC
B | TOTAL BASIC LOW SIDE |  |  |  |  | 138030
| GST@ 18% |  |  |  |  | 24845.4
| Total Low Side Value |  |  |  |  | 162875.4
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals

## Sheet1
Company Name :- |  | Cholamandalam Investment & Finance Company Limited |  |  | Date :- | 21.10.2024
Site Address: - 2nd Floor, Shubra Complex, Mahuabagh, Ghazipur (UP) - 233001
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi-Wall Split AC - 1.5 TR & 1.8 TR |  | Nos. | 7 | 1200 | 8400
2 | Refrigeration Piping for Hi Wall Unit - 1.5 TR & 1.8 TR |  | Mtrs. | 240 | 680 | 163200
3 | Interconnecting Cable Indoor & Outdoor for Hi-Wall |  | Mtrs. | 254 | 112 | 28448
4 | Drain Pipe - 25mm Thick Hard PVC |  | Mtrs. | 120 | 110 | 13200
5 | Outdoor Unit Stand for Hi Wall AC |  | Nos. | 7 | 700 | 4900
6 | Automatic Voltage Stabilizer 4KVA |  | L/S | 2 | 3360 | 6720
7 | Automatic Voltage Stabilizer 5KVA |  | Nos. | 5 | 4400 | 22000
8 | Supply and Installation of 300 mm X 150 mm Cable Tray |  | Mtrs. | 10 | 650 | 6500
9 | Chiseling Work |  | Mtrs. | 110 | 110 | 12100
| Total |  |  |  |  | 265468