## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra.
GST NO : 27AYYPS2229K1ZK
Company Name |  | Mi Store (Xiomi) |  |  | Dated :- | 27.06.2025
Site Address: - Unit No.S-25,26,108,109-SH, Lower Ground Floor Seawoods Grand Central Mall, Seawoods Station Rd, Seawoods West, Sector 40, Nerul, Mumbai, Maharashtra 400706
GST NO : 27AAACX1645B1ZO
HIGH SIDE WORK
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT | Daikin Model
1 | Store Area | Supply of Daikin 8.0 TR - CHW Ductable unit | Nos. | 1 | 128200 | 128200 | FUW050A-6R-AABE
| TOTAL BASIC HIGH SIDE |  |  |  |  | 128200 | CMH - 5000
| GST @ 28% |  |  |  |  | 35896
A | Total High Side Value |  |  |  |  | 164096
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Installation,Testing & commissioning of chilled water Ductable unit
1.1 | Dismantaling of Existing 8.0 TR - CHW Ductable Unit |  | Nos. | 1 | 6000 | 6000
1.2 | Installation of 8.0 TR - CHW Ductable unit |  | Nos. | 1 | 11000 | 11000
2 | Supply & installation of M.S. piping with 25mm thick Nitrile rubber insulation (Make - Jindal)
2.1 | SITC of 32mm Chilled Water Pipe |  | Rmt | 10 | 1050 | 10500
2.2 | SITC of 40mm X 25mm Thick Nitrile Rubber Insulation for Chilled Water pipe |  | Rmt | 10 | 540 | 5400
3 | INSULATED AUTO VENT VALVES with BALL VALVE - Supply, installation, testing & commissioning of Auto Vent Valves. |  | Lot. | 1 | 2500 | 2500
4 | SITC of Valve Station Assembly for Ductable Units - 32 mm Dia With Insulation - PICV on/off type 32 mm |  | Nos. | 1 | 23500 | 23500
5 | SITC of Y Stainer |  | Nos. | 1 | 3550 | 3550
6 | SITC of 32mm Balancing Valve |  | Nos. | 1 | 9500 | 9500
7 | SITC of 32mm Ball Valve |  | Nos. | 1 | 2500 | 2500
8 | SITC of 12.7mm Ball Valve |  | Nos. | 5 | 1800 | 9000
9 | SITC of Dial Type Pressure Gauge |  | Nos. | 2 | 1850 | 3700
10 | SITC of Thermometer Dial Type |  | Nos. | 2 | 2250 | 4500
11 | SITC of Control Cabling 2 Core 1.5 Sqmm |  | Rmt | 10 | 150 | 1500
12 | SITC of Power Cabling 4 Core 4.0 Sqmm |  | Rmt | 10 | 410 | 4100
13 | SITC of DRAIN PIPING - 32 / 25 mm PVC Hard Pipe With 9 mm Nitrile Sleeve Insulation with Accessories as Required. |  | Rmt | 15 | 200 | 3000
14 | Lifting Shifting |  | Lot. | 1 | 15500 | 15500
15 | Modification of Ducting |  | Nos. | 1 | 8500 | 8500
16 | Supply and Installation of Fire Rated Canvas Connection |  | Nos. | 1 | 3850 | 3850
17 | AHU Starter Panel |  | Nos. | 1 | 32500 | 32500
18 | Transportation Charges |  | L/S | 1 | 3500 | 3500
| TOTAL BASIC LOW SIDE |  |  |  |  | 164100
| GST@ 18% |  |  |  |  | 29538
B | Total Low Side Value |  |  |  |  | 193638
| TOTAL ( A+B ) |  |  |  |  | 357734