## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Mahindra & Mahindra Ltd |  |  | Date :- | 18.04.2026
Site Address: - M&M Automotive Sector AS Chakan Plant Plot No-A-1,Phase IV,Chakan MIDC Dist:- Pune Khed-Pune 410501
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of 2.5TR Cassette unit |  | Nos. | 10 | 3000 | 30000
2 | Refrigeration Piping for Split Unit |  | Mtrs | 350 | 1200 | 420000
3 | Interconnecting Cable Indoor & Outdoor |  | Mtrs | 380 | 150 | 57000
4 | Drain Pipe 25mm PVC Pipe |  | Mtrs | 100 | 160 | 16000
5 | Fabrication Stand for Outdoor unit |  | Nos. | 10 | 3800 | 38000
6 | Cabal trey with full thredd rod 300×50 |  | Mtrs | 70 | 1200 | 84000
7 | Cabal trey with full thredd rod 150×50 |  | Mtrs | 50 | 850 | 42500
8 | Supply and Top up of refrigerant gas |  | KG | 10 | 1200 | 12000
A | TOTAL BASIC LOW SIDE |  |  |  |  | 699500
B | GST@ 18% |  |  |  |  | 125910
C | Total Low Side Value |  |  |  |  | 825410
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals
9 | Machine order is to be placed in the name of Daikin Airconditioning India Pvt Ltd