## Low side
REF | [6 empty] | DATE | 2024-09-28
BOQ FOR HI WALL & CASSETTES
Customer Name |  | Bandhan Bank
| HI-SIDE DETAILS | SITE NAME = | Yeole Plaza, Deshmukhwadi , Pachora , Dist - Jalgaon ,Maharashtra, Pin - 424201
LOW SIDE WORK
S. No. | PARTICULARS |  |  | UNIT | QTY. | BASIC RATE | AMOUNT
Standard Installation , pressure testing, vacummizing, testing & commissioning of Hi Wall unit
1a | SITC of Hi Wall unit |  |  | Nos. | 4 | 1500 | 6000
1b | SITC of 1.5 TR Cassette unit |  |  | Nos. |  | 3000 | 0
1c | SITC of 2 TR Cassette unit |  |  | Nos. |  | 3000 | 0
1d | SITC of 3.0 TR & 4 TR Cassette unit |  |  | Nos. |  | 3000 | 0
| DISMANTLING IF ANY (FOR REPLACEMENT SITES ONLY ) | [5 empty] | 0
2a | Dismantling of Hi Walls |  |  | Nos. |  | 1050 | 0
2b | Dismanting of Cassettes |  |  | Nos. |  | 2100 | 0
| REFRIGERANT PIPING | [5 empty] | 0
3a | Refrigerant Piping for 1.0 TR Hi wall Unit |  |  | Rmt. |  | 750 | 0
3b | Refrigerant Piping for 1.5 TR Hi wall Unit |  |  | Rmt. | 10 | 750 | 7500
3c | Refrigerant Piping for 1.8 TR Hi wall Unit |  |  | Rmt. | 29 | 750 | 21750
3d | Refrigerant Piping for 1.5 TR Cassette |  |  | Rmt. |  | 750 | 0
3e | Refrigerant Piping for 2.0 TR Cassette |  |  | Rmt. |  | 900 | 0
3f | Refrigerant Piping for 3.0 TR Cassette Unit |  |  | Rmt. |  | 900 | 0
3g | Refrigerant Piping for 4 TR Unit |  |  | Rmt. |  | 900 | 0
4 | Control Cable | [5 empty] | 0
4.a | 3C/1.5 SQMM |  |  | Rmt. |  | 110 | 0
4.b | 3C/2.5 SQMM |  |  | Rmt. |  | 130 | 0
4.c | 4C/4.0 SQMM |  |  | Rmt. | 45 | 145 | 6525
4.d | 4C/6.0 SQMM |  |  | Rmt. |  | 180 | 0
5a | Drain Pipe 25 mm thick Hard Pvc |  |  | Rmt. | 35 | 90 | 3150
5b | Drain Pipe 32 mm thick Hard Pvc |  |  | Rmt. |  | 120 | 0
| Standard "L" Type OUTDOOR UNIT | [5 empty] | 0
6a | Outdoor Unit Stand for 1 TR, 1.5 TR & 2.0 TR HI WALL |  |  | Nos. | 4 | 700 | 2800
6b | Outdoor Unit Stand for 1.5 TR |  |  | Nos. |  | 1500 | 0
6c | Outdoor Unit Stand for 2.0 TR Cassette |  |  | Nos. |  | 1500 | 0
6d | Outdoor Unit Stand for 3.0 TR & 4.0 TR Cassette |  |  | Nos. |  | 1500 | 0
7 | Catwalk stand if required will be as per site |  |  | Kg |  | 245 | 0
8 | Refrigerant Top Up |  |  | kg |  | 950 | 0
9 | Cable Tray |  |  | Rmt. |  | 850 | 0
10 | Core Cutting |  |  | per Hole |  | 1800 | 0
11 | Chiselling of Split Ac and Cassette AC |  |  | Rmt. |  | 150 | 0
12 | Pump |  |  | Nos. |  | 5400 | 0
13 | Iron Caging for Outdoor units of Ground Floor |  |  | Kg |  | 245 | 0
E | TOTAL BASIC LOW SIDE | [5 empty] | 47725
F | GST |  |  | @ | 18% |  | 8590.5
G | Final Total | [5 empty] | 56315.5
G
Any variation in quantities shall be charged as per actual
Civil / Masonry work , Lifting shifting of Machine if done shall be charged extra
Please mention in your PO - The " Billing To" & " Shipping To) Address
Please mention in your PO - The " GST No of Bill To & Ship To address
| ORDER | To be placed on - Daikin ( Branch Name)
Daikin Banch address
Daikin GST Number
| Low side dealer Firm's Name : |  | AEON AIRCONDITIONING SOLUTIONS
Dealer code :
| Contact person 1 (Project Incharge) : |  | Amira Khan
| Contact No. 1 : |  | 9137940454
| Contact person 2 (Propreitor) : |  | MOHD. ASIM JAWED SHAIKH
| Contact No. 2 : |  | 9820580008
| Email Id : |  | support@aeonacsolutions.com
| Address : |  | Rutu Park, OFFICE NO.108, 109, Devashree Gardens Wing D, RW Sawant Road, THANE WEST, THANE, Thane, Maharashtra, 400601
| GST Number : |  | 27AYYPS2229K1ZK
| PAN Number : |  | AYYPS2229K

## Hiside
SL. NO. | DETAILS OF MACHINES |  | Quantity | Description | Item Description | UNIT | QTY. | Item Rate | BASIC RATE | AMOUNT
1 | 1.0 TR 3 STAR BEE Inverter-Hi Wall SPLIT AC |  |  | FTKL35UV16W | 1.0 TR Hi-wall IDU | Nos. |  | 8189 | 24378 | 0
|  |  |  | RKL35UV16W | 1.0 TR Hi-wall ODU | Nos. |  | 16189
2 | 1.5 TR 3 STAR BEE - Inverter Hi Wall SPLIT AC |  |  | FTKL50UV16V3A | 1.5 TR Hi-wall IDU | Nos. | 1 | 10750 | 27500 | 27500
|  |  |  | RKL50UV16V3A | 1.5 TR Hi-wall ODU | Nos. | 1 | 16750
3 | 1.8 TR 3 STAR BEE -Inverter Hi Wall SPLIT AC |  |  | FTKL60UV16U | 1.8TR Hi-wall IDU | Nos. | 3 | 10115 | 36400 | 109200
|  |  |  | RKL60UV16U | 1.8 TR Hi-wall ODU | Nos. | 3 | 26285
4 | 1.5 TR Non Inverter Cassette Model - |  |  | FCQF18ARV16 | 1.5 TR Non- Inverter Cassette IDU | Nos. |  | 23490 | 48700 | 0
|  |  |  | RGVF18ASV16 | 1.5 TR Non- Inverter Cassette ODU | Nos. |  | 19540
|  |  |  | BYCQ48EAF6 | 1.5 TR Non- Inverter Cassette Panel | Nos. |  | 5670
5 | 2.0 TR Non Inverter Cassette Model |  |  | FCQF24ARV16 | 2.0 TR Non- Inverter Cassette IDU | Nos. |  | 27000 | 54300 | 0
|  |  |  | RGVF24ASV16 | 2.0 TR Non- Inverter Cassette ODU | Nos. |  | 21630
|  |  |  | BYCQ48EAF6 | 2.0 TR Non- Inverter Cassette Panel | Nos. |  | 5670
6 | 3.0 TR Non Inverter Cassette Model |  |  | FCQF36ARV16 | 3.0 TR Non- Inverter Cassette IDU | Nos. |  | 23700 | 81300 | 0
|  |  |  | RGVF36ASV16 | 3.0 TR Non- Inverter Cassette ODU | Nos. |  | 51930
|  |  |  | BYCQ48EAF6 | 3.0 TR Non- Inverter Cassette Panel | Nos. |  | 5670
7 | 4.0 TR Non Inverter Cassette Model |  |  | FCQF48ARV16 | 4.0 TR Non- Inverter Cassette IDU | Nos. |  | 26730 | 95900 | 0
|  |  |  | RGVF48ASY16 | 4.0 TR Non- Inverter Cassette ODU | Nos. |  | 63500
|  |  |  | BYCQ48EAF6 | 4.0 TR Non- Inverter Cassette Panel | Nos. |  | 5670
A | TOTAL BASIC HIGH SIDE | [8 empty] | 136700
B |  | GST 28% | [6 empty] | 28% | 38276
C | TOTAL HIGH SIDE VALUE (A+B) |  | 0 |  |  |  | 8 |  |  | 174976