## LS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 08.12.2025
CHAAYOS
Site Address: - CBD Belapur, Navi Mumbai
BILL OF QUANTITIES
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of 24HP VRV Outdoor Unit. | HP | 24 | 1400 | 33600
B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
1 | Labour charges towards Installation of VRV TFA AC Indoor Unit 4.1 TR | Nos | 1 | 3000 | 3000
2 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 1.6 TR | Nos | 2 | 1500 | 3000
3 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 1.6 TR | Nos | 1 | 3000 | 3000
4 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 2.66 TR | Nos | 4 | 3000 | 12000
C | Supply, Installation,Testing & Commissioning of following imported copper fittings to be provided in refrigerant pipe line.
1 | Refnet Joints (Y- Joints) | No | 7 | 1000 | 7000
2 | Refnet Headers | No | 1 | 1500 | 1500
D | COPPER REFRIGERANT PIPING
Supply, installation, testing and comissioning of interconnecting copper refrigerant piping of DHE Grade C12200- ASTM B68, B75, chemical composition of copper %- 99.0 Min and Phosphorus %- 0.015 to 0.040 . For Annealed copper tube :- Tensile strength = 210 Mpa wih elongation % = 40 Min . Ink Mark Brand Printing on Hard Tubes should be present. duly insulated with tubular elastomeric nitrile rubber FM/UL approved with high water vapor diffusion resistance and low thermal conductivity should be certified 'Class O' in Fire Propagation as per BS 476 Part 6 including chase cutting andfilling with mortar, Slotted channel supports mounted on 10 mm threaded rod at suitable spacing the exposed piping shall be wrapped with glass woven cloth and lag coating for vapour barrier and weather protection. Joints shall be covered with nitrile rubber tape of 3 mm thick complete as required of following sizes. All as per pre approved by Engineer in charge. For additional technical parameters of products/ work.
Pipe Size Thickness of CSE
(O.D.) Insulation
1.2 | 28.6 mm O.D., wall thinkness ≥ 1.2mm (insulation – 19 mm thick) | RM | 17 | 1550 | 26350
1.3 | 22.2 mm O.D., wall thinkness ≥ 1.0mm (insulation – 19 mm thick) | RM | 3 | 1250 | 3750
1.5 | 15.9 mm O.D., wall thinkness ≥ 0.8mm (insulation – 13 mm thick) | RM | 9 | 850 | 7650
1.6 | 12.7 mm O.D., wall thinkness ≥ 0.8mm (insulation – 13 mm thick) | RM | 13 | 700 | 9100
1.7 | 9.5 mm O.D., wall thinkness ≥ 0.8mm (insulation – 13 mm thick) | RM | 12 | 550 | 6600
1.8 | 6.4 mm O.D., wall thinkness ≥ 0.8mm (insulation – 13 mm thick) | RM | 7 | 450 | 3150
E | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.0 Sqmm with conduits | Rmt | 81 | 180 | 14580
2 | Supply & Labour towards Power Cable betweem IDU to ODU 3 Core 1.5 Sqmm | Rmt | 12 | 200 | 2400
F | Drain Pipe :
Providing & Fixing of IS : 4985 - 2000 Class -4 (10 Kgf / Sqcm) UPVC drain water piping with fittings (IS:7834 & 10Kgf/sqcm) like elbow, socket, Tee, solvent cement jointing, support with MS hanger on ceiling or recessed in wall with chasing & plastering with 6 mm thick closed cell elastomeric nitrile rubber insulation including leakage testing etc. as required of following Nominal sizes. All as per pre approved by Engineer in charge. For additional technical parameters of products/ work.
1 | 32mm dia | Rmt | 39.85 | 260 | 10361
G | FACTORY FABRICATED DUCTING
1 | Supply, Fabrication, Installation and Testing of sheet metal ducts complete with vanes, splitter damper hanging arrangement including check nuts in accordance with the approved shop drawings and specifications.
1.1 | 0.63 mm (24 gauge) GSS | Sqmt | 78.1 | 1025 | 80052.5
H | DUCT INSULATION
Make: Armacell / Vidoflex / Aerolam / Pidilite
Supplying and fixing of following thickness duly laminated aluminium foil of mat fininshed closed cell Nitrile rubber (class ''O'') insulation on duct after applying two coats of cold setting adhesive (The joints shall sealed with 50mm wide and 3 mm thick self adhesive nitrile rubber tape insulaton complete as per specifications and as required.
1 | Thermal Duct Insulation with 19 mm nitrile rubber (TFA duct) | sqmtr | 19.21 | 980 | 18825.8
2 | Open cell calss with 13 mm | sqmtr | 8.8287 | 850 | 7504.4375
I | Canvas Connection
1 | Supply, Installation and Testing of fire retardent canvass connection for conneccting duct and unit | Nos. | 1 | 2000 | 2000
I | Lifting Shifting VRV ODU & IDU on all floors | Lot | 1 | 10000 | 10000
J | Transportation of spares and materials | Lot | 1 | 3500 | 3500
L | Additional Refrigerant Charging as per copper length. | Kg's | 8.5 | 1250 | 10625
N | Fabrication of Outdoor Unit Stand for 24 HP VRV unit | Kg's | 250 | 150 | 37500
O | Supply, installation, Lovers with bird screen | sqmtr | 1 | 9000 | 9000
Q | DAMPER
| Supply, installation, testing and commissioning of 50 micron powder coated "Aluminium" collar volume control dampers with key operated of black painted in supply air registers / terminals. | sqmtr | 0.3 | 6500 | 1950
R | Grill/ Disfuser
| Supply, installation, testing and commissioning of 50 micron powder coated Linear Grill/Diffuser, Note: color as per Interior Desinger | sqmtr | 2.5 | 7500 | 18750
Total Basic Low side for machine installation |  |  |  |  | 346748.7375
GST 18% |  |  |  |  | 62414.7727
Total (Low Side) |  |  |  |  | 409163.5102

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated | 2025-09-05
CHAAYOS (BELAPUR)
Site Address: -
BILL OF QUANTITIES
LOW SIDE WORK
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.