## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Specialty Restaurant Ltd - New York burittos |  |  | Date :- | 09.01.2026
Site Address: - Shop no. 1, Swastik Industrial Estate, Kolivery Village, MMRDA Area, Kalina, Santacruz East, Mumbai, Maharashtra 400098
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 3.0 TR |  | Nos. | 1 | 3500 | 3500
2 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 35 | 1150 | 40250
3 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 37 | 160 | 5900
4 | Drain Pipe 32 mm PVC Pipe |  | Mtrs. | 10 | 150 | 1500
5 | Gas Top Up |  | Nos. | 1 | 1500 | 1500
6 | Cable Tray |  | Mtrs. | 7 | 1000 | 7000
A | TOTAL BASIC LOW SIDE |  |  |  |  | 59650
B | GST@ 18% |  |  |  |  | 10737
C | Total Low Side Value |  |  |  |  | 70387
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals