## VRV
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name : IPLANET | Dated |  | 18.06.2026
Site Address: ZEE MANUBHARATI, SHOP No.1 & 2 Plot No. 212, S.V. Road, Azad Lane, Andheri (West), Mumbai 400058.
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of 6HP Outdoor Unit. | Nos | 2 | 7174 | 14348
B | Standard Installation, Testing & Commissioning Charges for Indoor Units
1 | Labour charges towards Installation of Cassette AC Indoor Unit 4.0TR | Nos | 2 | 1993 | 3986
2 | Labour charges towards Installation of Cassette AC Indoor Unit 1.0 TR | Nos | 2 | 1993 | 3986
C | Labour charges towards Nitrogen Pressure Testing, vaccuming, gas charging and Commissioning of 6 HP VRV ODU & IDUs | Nos | 2 | 3740 | 7480
D | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 124 | 1714 | 212536
E | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.0 Sqmm with conduits for Units | Rmt | 140 | 182 | 25480
F | Drain Pipe :
1 | Supply & Labour charges towards UPVC Drain Piping | Rmt | 30.4 | 239 | 7265.6
G | Additional Refrigerant Charging as per copper length. | Kg | 14.3 | 1050 | 15015
H | Rubber type Stand for Outdoor units (4PCS set) | Set | 2 | 800 | 1600
I | Charges for Outdoor unit Lifting Shifting | L/S | 1 | 6500 | 6500
J | Supply, Installation & transportation of Cowl piece for Outdoor unit | Nos | 2 | 15500 | 31000
Total Basic Low side for machine installation |  |  |  |  | 329196.6
GST 18% |  |  |  |  | 59255.388
Total (Low Side) |  |  |  |  | 388451.988