## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Liv Space (Home Interior Designs E-commerce Pvt Ltd ) |  |  | Date :- | 07.08.2025
Site Address: - Unit no.5, Ground Floor, Business Plus, Mumbai Naka, Matoshree Nagar, Nashik, Maharashtra 422002
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 2.2, 1.5, 1.0 & 1.8 TR |  | Nos. | 10 | 1250 | 12500
2 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 250.4 | 850 | 212840
3 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 269.5 | 180 | 48510
4 | Drain Pipe 25 mm PVC Pipe |  | Mtrs. | 72 | 175 | 12600
6 | Drain Pump |  | Nos. | 8 | 6500 | 52000
7 | Outdoor Unit Fabrication Platform Stand |  | Kgs. | 65 | 230 | 14950
8 | Outdoor Unit L -Type Jumbo Stand |  | Nos. | 7 | 1500 | 10500
9 | Cable Tray 300*100 |  | Mtrs. | 24 | 1310 | 31440
11 | Chiseling Work |  | Mtrs. | 42 | 130 | 5460
12 | Core Cutting |  | Nos. | 2 | 1500 | 3000
A | TOTAL BASIC LOW SIDE |  |  |  |  | 403800
B | GST@ 18% |  |  |  |  | 72684
C | Total Low Side Value |  |  |  |  | 476484
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals