## Summary
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name |  | Dated | 2026-06-26
GONG & MIGOES SPEACIALITY BANDRA
Site Address: - 8TH Floor, Mansionz One, 400 050, Linking Rd, Bandra (West, Mumbai, Maharashtra 400050
SR. NO | ITEM | BOQ AMOUNT (Rs) | BOQ GST (Rs) | BOQ AMOUNT WITH GST (Rs)
HIGH SIDE
| TOTAL HIGH SIDE | 299055 | 83735.4 | 382790.4
LOW SIDE
| TOTAL LOW SIDE | 129785.5 | 23361.39 | 153146.89
| TOTAL HIGH SIDE + LOW SIDE | 428840.5 | 107096.79 | 535937.29

## HS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 2026-06-26
GONG & MIGOES SPEACIALITY BANDRA
Site Address: - 8TH Floor, Mansionz One, 400 050, Linking Rd, Bandra (West, Mumbai, Maharashtra 400050
BILL OF QUANTITIES
HIGH SIDE WORK
Sr. No. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin VRV Airconditioners
A | Daikin Outdoor Units
1 | Supply of Daikin Make 06 HP VRV Outdoor Unit Side Discharge - RXMQ6ARV16 | Nos. | 1 | 132340 | 132340
B | Daikin Indoor Units
1 | Supply of Daikin Make VRV 4 Way Compact Cassette AC Indoor Unit 1.6 TR - FXZQ50BVM6 | Nos. | 2 | 61360 | 122720
2 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 2.08 TR - FXAQ63ARVE6 | Nos. | 1 | 33995 | 33995
C | IDU Refnut Joints | Nos. | 2 | 5000 | 10000
Sub Total |  |  |  |  | 299055
GST 18% |  |  |  |  | 53829.9
Total (High Side) |  |  |  |  | 352884.9

## LS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 2026-06-26
GONG & MIGOES SPEACIALITY BANDRA
Site Address: - 8TH Floor, Mansionz One, 400 050, Linking Rd, Bandra (West, Mumbai, Maharashtra 400050
BILL OF QUANTITIES
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of Daikin Make 6 HP VRV Outdoor Unit Side Discharge | Nos. | 1 | 6500 | 6500
B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
3 | Labour Charges towards VRV 4 Way Compact Cassette AC Indoor Unit 1.66 TR - FXZQ50BVM6 | Nos | 2 | 2850 | 5700
6 | Labour Charges towards VRV Hi Wall AC Indoor Unit 2.08 TR - FXAQ63ARVE6 | Nos | 1 | 1650 | 1650
C | Installtion IDU Refnets (Y-Distribution) Joints for Units | Nos | 2 | 550 | 1100
D | Nitrogen Gas flushing forall the above units as per there CU Piping length and the Indoor unit capacity . | HP | 6 | 550 | 3300
E | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 30 | 2000 | 60000
F | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.5 Sqmm with conduits | Rmt | 34.95 | 190 | 6640.5
2 | Supply & Labour towards Power Cable for IDU 3Core 2.5 Sqmm | Rmt | 4.5 | 210 | 945
G | Drain Pipe :
1 | Supply & Labour charges towards PVC Drain Piping 25mm / 32mm | Rmt | 10 | 220 | 2200
Note: Vertial drain till Nali trap to be provided by plumber
3 | Indoor Drain Pump for Hi Wall | Nos | 1 | 7500 | 7500
H | Additional Refrigerant Charging as per copper length. | Kg's | 4 | 1500 | 6000
L | Fabrication of Outdoor Unit Stand for 6 HP VRV unit | Lot | 1 | 11250 | 11250
M | Lifting Shifting Charges | Lot | 1 | 13500 | 13500
N | Transportation of spares and materials | Lot | 1 | 3500 | 3500
Total Basic Low side for machine installation |  |  |  |  | 129785.5
23361.39
Total (Low Side) |  |  |  |  | 153146.89
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals
9 | All Electrical power cables and power points will under the customer scope.
10 | We have not consider Linear Grill and Collar Damper in Quotation

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated | 2026-06-26
GONG & MIGOES SPEACIALITY BANDRA
Site Address: - 8TH Floor, Mansionz One, 400 050, Linking Rd, Bandra (West, Mumbai, Maharashtra 400050
BILL OF QUANTITIES
LOW SIDE WORK
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
50% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.