## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Hindustan Times Media Limited |  |  | Date :- | 10.06.2025
Site Address: - 2nd floor HT Media PN-6, Thane - Belapur Rd, Digha Naka, Subhash Nagar, Dighe, Navi Mumbai, Maharashtra 400708.
Sr. No. | DETAILS OF MACHINES |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Daikin Inverter 1.8 TR Hi Wall Unit |  | Nos. | 4 | 37500 | 150000
2 | Daikin Inverter 1.0 TR Hi Wall Unit |  | Nos. | 1 | 26000 | 26000
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 176000
B | GST @ 28% |  |  |  |  | 49280
C | Total High Side Value |  |  |  |  | 225280
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
A | LOW SIDE WORK
1 | Dismantaling of Existing Hi Wall Unit - 1.0 TR & 1.8 TR |  | Nos. | 5 | 1000 | 5000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of 1.0 TR & 1.8 TR Hi Wall Unit |  | Nos. | 5 | 1500 | 7500
3 | Refrigeration Piping for 1.0 TR Hi Wall Unit |  | Mtrs. | 80 | 950 | 76000
4 | Supply & Labour towards Communication Cable between IDU & ODU 4Core x 2.5SQMM conduits |  | Mtrs. | 88 | 160 | 14080
5 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 10 | 160 | 1600
6 | Outdoor L - Type Stand |  | Nos. | 5 | 900 | 4500
B | Electrical Work
1 | Supply towards Power Cable 3 Core 4 Sq mm conduits |  | Mtrs. | 88 | 250 | 22000
A | TOTAL BASIC LOW SIDE |  |  |  |  | 130680
B | GST@ 18% |  |  |  |  | 23522.4
C | Total Low Side Value |  |  |  |  | 154202.4
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals

## Extended work boq
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Hindustan Times Media Limited |  |  | Date :- | 08.08.2025
Site Address: - 2nd floor HT Media PN-6, Thane - Belapur Rd, Digha Naka, Subhash Nagar, Dighe, Navi Mumbai, Maharashtra 400708.
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
A | LOW SIDE WORK
1 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 28 | 950 | 26600
2 | Supply & Labour towards Communication Cable between IDU & ODU 4Core x 2.5SQMM conduits |  | Mtrs. | 33 | 160 | 5280
3 | Supply & Labour towards Communication Cable between IDU & ODU 3Core x 2.5SQMM conduits |  | Mtrs. | 33 | 190 | 6270
4 | Supply & Installation of Junction Box |  | Nos. | 5 | 500 | 2500
A | TOTAL BASIC LOW SIDE |  |  |  |  | 40650
B | GST@ 18% |  |  |  |  | 7317
C | Total Low Side Value |  |  |  |  | 47967
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals