## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | AU Small Finance Bank |  |  | Date :- | 21.05.2026
Site Address: - Ground Floor shop no. 7,8,9 Sharda Royce Ulhasnagar – 421002
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT | Remark
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 3.0 TR |  | Nos. | 4 | 3000 | 12000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR |  | Nos. | 4 | 1400 | 5600
3 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 65 | 950 | 61750
4 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 43 | 850 | 36550
5 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 116 | 150 | 17400 | Ok
6 | Drain Pipe 25 mm PVC Pipe with insulation |  | Mtrs. | 37 | 150 | 5550 | Ok
7 | Drain Pipe 32 mm PVC Pipe with insulation |  | Mtrs. | 22 | 170 | 3740 | Ok
8 | Outdoor Unit L-Type Stand - Hi Wall Unit |  | Nos. | 4 | 850 | 3400
9 | Outdoor Unit L-Type Stand - 3.0 TR Cassette |  | Nos. | 4 | 1500 | 6000
10 | Chiseling Work |  | Mtrs. | 27 | 115 | 3105
A | TOTAL BASIC LOW SIDE |  |  |  |  | 155095
B | GST@ 18% |  |  |  |  | 27917.1
C | Total Low Side Value |  |  |  |  | 183012.1
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals