## VRV
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name : IPLANET (Apple Store) | Dated |  | 23.02.2026
Site Address: - Ground Floor,Shop No.5, Jayant Apartment,Prabhadevi, Mumbai,Maharashtra, 400025.
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of 4HP Outdoor Unit. | Nos | 1 | 5829 | 5829
2 | Labour charges towards Installation of 6HP Outdoor Unit. | Nos | 1 | 5829 | 5829
B | Standard Installation, Testing & Commissioning Charges for Indoor Units
1 | Labour charges towards Installation of Cassette AC Indoor Unit 3.2 TR | Nos | 2 | 1993 | 3986
2 | Labour charges towards Installation of Cassette AC Indoor Unit 2.0 TR | Nos | 1 | 1993 | 1993
C | Labour charges towards Nitrogen Pressure Testing, vaccuming, gas charging and Commissioning of 4 HP VRV ODU & IDUs | Nos | 1 | 3117 | 3117
D | Labour charges towards Nitrogen Pressure Testing, vaccuming, gas charging and Commissioning of 6 HP VRV ODU & IDUs | Nos | 1 | 3117 | 3117
E | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 33.16 | 1714 | 56836.24
F | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.0 Sqmm with conduits for Units | Rmt | 47.16 | 182 | 8583.12
G | Drain Pipe :
1 | Supply & Labour charges towards UPVC Drain Piping | Rmt | 21.9 | 239 | 5234.1
H | Additional Refrigerant Charging as per copper length. | Nos | 2 | 3428 | 6856
Total Basic Low side for machine installation |  |  |  |  | 101380.46
GST 18% |  |  |  |  | 18248.4828
Total (Low Side) |  |  |  |  | 119628.9428

## NVRV
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name : IPLANET (Apple Store) | Dated |  | 17.02.2026
Site Address: - Ground Floor,Shop No.5, Jayant Apartment,Prabhadevi, Mumbai,Maharashtra, 400025.
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for 1.0TR Split Units | Nos | 1 | 1500 | 1500
B | L type Stand for Outdoor units | Nos | 1 | 850 | 850
C | Nitrogen pressure Testing & commisioning | Nos | 1 | 900 | 900
Total Basic Low side for machine installation |  |  |  |  | 3250
GST 18% |  |  |  |  | 585
Total (Low Side) |  |  |  |  | 3835

## DRAIN TRAY
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name : IPLANET (Apple Store) | Dated |  | 23.02.2026
Site Address: - Ground Floor,Shop No.5, Jayant Apartment,Prabhadevi, Mumbai,Maharashtra, 400025.
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Drain Tray Work
1 | Supply & Installation of Ducting for Drain Tray | Sqmt | 16 | 1300 | 20800
2 | Supporting material for Drain Tray | L/S | 1 | 2500 | 2500
3 | Supply & Labour charges towards Drain Pipe | Mtr | 30 | 160 | 4800
4 | Transportation Charges | L/S | 1 | 2500 | 2500
Total Basic Low side for machine installation |  |  |  |  | 30600
GST 18% |  |  |  |  | 5508
Total (Low Side) |  |  |  |  | 36108