## HS & LS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 03.04.2026
Specialty Restaurant Ltd - Walters
Site Address: - Shop No:-24, Balewadi High Street Balewadi, Link Road, Laxman Nagar, Baner, Pune, Maharashtra 411045
BILL OF QUANTITIES
HIGH SIDE
Supply of Daikin VRV Airconditioners
A | Daikin Outdoor Units | Unit | QTY. | BASIC RATE | AMOUNT
1 | Daikin 4HP VRV Side discharge Outdoor unit(Model - RXMQ4BRV16) |  | 1 | 95290 | 95290
B | Daikin Indoor Units
1 | Daikin 3.0TR Cassette Unit VRV Indoor unit (Model - FXFSQ100ARV16) |  | 1 | 52260 | 52260
| Sub Total |  |  |  | 147550
| GST 18% |  |  |  | 26559
| Total (High Side) |  |  |  | 174109
LOW SIDE
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of 4 HP VRV Outdoor Unit. | Nos | 1 | 4000 | 4000
B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
1 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 3.0 TR | Nos | 1 | 3500 | 3500
C | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Refregerent Piping (5/8 and 3/8 ) with Nitrile Insulation for VRV Units | Rmt | 80 | 1350 | 108000
D | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.0 Sqmm with conduits for VRV Units | Rmt | 110 | 165 | 18150
E | Drain Pipe :
1 | Supply & Labour charges towards PVC Drain Piping 32mm | Rmt | 23 | 150 | 3450
F | Core Cutting | Nos | 2 | 2500 | 5000
G | Fabrication of Outdoor Unit Stand for 4 HP VRV unit | Nos | 1 | 7000 | 7000
Total Basic Low side for machine installation |  |  |  |  | 149100
GST 18% |  |  |  |  | 26838
Total (Low Side) |  |  |  |  | 175938

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated | 03.04.2026
Specialty Restaurant Ltd - Walters
Site Address: - Shop No:-24, Balewadi High Street Balewadi, Link Road, Laxman Nagar, Baner, Pune, Maharashtra 411045
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.

## Vendor Details
LOW SIDE PO TO BE CREATED ON THE NAME OF Daikin's Authorised Dealer as per below Details
Dealer Firm's Name : | Aeon Airconditioning Solutions
Dealer GST No. : | 27AYYPS2229K1ZK
Dealer Pan Number: | AYYPS2229K
Contact person 1 (Project Incharge) : | Amira Khan
Contact No. 1 : | 9137940454
Contact person 2 (Propreitor) : | Mr. Mohd. Asim Shaikh
Contact No. 2 : | 9820580008
Email Id : | support@aeonacsolutions.com / asim.shaikh@aeonacsolutions.com
Address : | Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra.