## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Cholamandalam Investment & Finance Company Limited |  |  | Date :- | 04.06.2025
Address: -1st Floor, Gata No.288, Adishakti Tower, St. Bassils School, Puchpediya Road, Nanak Nagar, Basti (UP) – 272002
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Dimantling Of Existing Units |  | Nos. | 4 | 850 | 3400
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR & 1.5 TR |  | Nos. | 9 | 1600 | 14400
3 | Providing and laying Refrigerant Copper pipe with insulation Split |  | Mtrs. | 229.2 | 900 | 206280
4 | Interconnecting Cable Indoor & Outdoor for Hi Wall Unit |  | Mtrs. | 245.66 | 160 | 39305.6
5 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 87 | 140 | 12180
6 | Outdoor Stand |  | Nos. | 9 | 900 | 8100
7 | AC Caping |  | Nos. | 4 | 800 | 3200
8 | Gas Charging |  | KG | 5 | 850 | 4250
9 | Civil Work (Chiseling) |  | Mtrs. | 50 | 120 | 6000
10 | Stabilizer 5.0 KVA (90V - 270V) with High Low cut off and Digital Display |  | Nos. | 5 | 3800 | 19000
| TOTAL BASIC LOW SIDE |  |  |  |  | 316115.6
| GST@ 18% |  |  |  |  | 56900.808
| Total Low Side Value |  |  |  |  | 373016.408
ADDITIONAL WORK
Client Name
Company Name :- |  | Cholamandalam Investment & Finance Company Limited |  |  | Date :- | 19.05.2025
Address: -1st Floor, Gata No.288, Adishakti Tower, St. Bassils School, Puchpediya Road, Nanak Nagar, Basti (UP) – 272002
LOW SIDE WORK (ADDITIONAL WORK)
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Double Decker Stand |  | Nos. | 2 | 9000 | 18000
2 | Civil Work |  | Mtrs. | 85 | 120 | 10200
3 | PCB Repairing |  | Nos. | 3 | 4500 | 13500
4 | Gas Charging |  | KG | 7 | 850 | 5950
| TOTAL AMOUNT |  |  |  |  | 47650
| GST@ 18% |  |  |  |  | 8577
| Total Low Side Value |  |  |  |  | 56227