Purchase Order

PO Number : MFS/21/25-26                                                                                           Date: 25.11.2025

Supplier Detail

Supplier Name: Aeon Airconditioning Solutions

Address: Office no. 108 & 109 Devashree Garden Commercial Complex. R. W Sawant Marg, Rutu Park. City. Thane. State. Maharashtra. Pin Code. 400601.

Contact & Phone: Afreen Khan – 9372534679

Email: cce.ka@aeonacsolutions.com

- Delivery Address - Immensa at Parkcity, Kalpataru Parkcity, Kolshet Rd, Thane West, Thane, Maharashtra 400607.

- Contact Person no. - Victor D’souza - 91378 02025

| HIGH SIDE WORK |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sr. No. | PARTICULARS | UNIT | QTY. | BASIC RATE | AMOUNT |
| 1 | Daikin - 1.0TR 3 Star Inverter Split unit | Nos. | 1 | 25500 | 25500 |
| 2 | Daikin - 1.5TR 3 Star Inverter Split unit | Nos. | 1 | 28200 | 28200 |
| 3 | Daikin - 1.8TR 3 Star Inverter Split unit | Nos. | 1 | 38000 | 38000 |
| A | TOTAL BASIC LOW SIDE |  |  |  | 91700 |
| B | GST@ 18% |  |  |  | 16506 |
| C | Total High Side Value |  |  |  | 108206 |
| LOW SIDE WORK |  |  |  |  |  |
| Sr. No. | PARTICULARS | UNIT | QTY. | BASIC RATE | AMOUNT |
| 1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hiwall unit | Nos. | 3 | 1500 | 4500 |
| 2 | Refrigeration Piping for Hiwall Unit | Mtr | 43 | 900 | 38700 |
| 3 | Interconnecting Cable Indoor & Outdoor | Mtr | 47 | 140 | 6580 |
| 4 | Drain Pipe Hard PVC 25mm | Mtr | 25 | 120 | 3000 |
| 5 | Outdoor unit rubber stand | Nos. | 3 | 550 | 1650 |
| 6 | Drain pump | Nos. | 1 | 6500 | 6500 |
| D | TOTAL BASIC LOW SIDE |  |  |  | 60930 |
| E | GST@ 18% |  |  |  | 10967.4 |
| F | Total Low Side Value |  |  |  | 71897.4 |
| G | Total High Side & Low Side Value |  |  |  | 180103.4 |

Order Details – Split Airconditioner

Payment Terms:

- Payment Schedule: 100% Advance for High Side & 50% for Low side

Authorized Signatory

Name: Kamran Shaikh

Designation: Manager

Signature & Seal: