## LS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name : IPLANET (Apple Store) | Dated |  | 04.12.2025
Site Address: - 1st floor - iPlanet Care Store Shop No.1,2,3 and office no101 and 102 Kalyan Road, Dombivli (East), Taluka Kalyan,Dist. Thane Maharashtra - 421201.
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of 8 HP Outdoor Unit. | Nos | 1 | 9964 | 9964
B | Standard Installation, Testing & Commissioning Charges for Indoor Units
1 | Labour charges towards Installation of Cassette AC Indoor Unit 2.0 TR | Nos | 1 | 1993 | 1993
2 | Labour charges towards Installation of Cassette AC Indoor Unit 2.6 TR | Nos | 2 | 1993 | 3986
C | Labour charges towards Nitrogen Pressure Testing, vaccuming, gas charging and Commissioning of 4 HP VRV ODU & IDUs | Nos | 1 | 4986 | 4986
D | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 18.8 | 1714 | 32223.2
E | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.0 Sqmm with conduits for Units | Rmt | 26.25 | 182 | 4777.5
F | Drain Pipe :
1 | Supply & Labour charges towards UPVC Drain Piping | Rmt | 14.25 | 239 | 3405.75
G | Additional Refrigerant Charging as per copper length. | Nos | 1 | 5485 | 5485
Total Basic Low side for machine installation |  |  |  |  | 66820.45
GST 18% |  |  |  |  | 12027.681
Total (Low Side) |  |  |  |  | 78848.131

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name : IPLANET | Dated | 2025-08-18
ICICI BANK LTD
Site Address: -Kalyan Rd, Trimurti Nagar, Dombivli East, Dombivli, Mumbai, Maharashtra 421201
BILL OF QUANTITIES
LOW SIDE WORK
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.