## Sheet1
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Cholamandalam Investment & Finance Company Limited |  |  | Date :- | 05.01.2025
Site Address: - 1st Floor, Khasara No.5632, Opp. Bachpan School, Barahamasi Pipal, Dholpur Road, (Baadi) Bari, Dist-Dholpur (Rajasthan) - 328021
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit |  | Nos. | 3 | 1500 | 4500
2 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 24 | 850 | 20400
3 | Interconnecting Cable wire Indoor & Outdoor Unit |  | Mtrs. | 27 | 160 | 4320
4 | Drain Pipe - 25 mm |  | Mtrs. | 11.9 | 140 | 1666
5 | Chiseling |  | Mtrs. | 12.2 | 120 | 1464
6 | Supply and fixing of Tripple Booster Stabilizer 5 KVA |  | Nos. | 3 | 5500 | 16500
7 | Supply and fixing of MS Stand for Outdoor Stand |  | Nos. | 3 | 1000 | 3000
| TOTAL BASIC LOW SIDE |  |  |  |  | 51850
| GST@ 18% |  |  |  |  | 9333
B | Total Low Side Value |  |  |  |  | 61183